Validation of SO2 retrievals from Ozone Monitoring Instrument (OMI) over NE China

N. A. Krotkov (1), B. McClure (2,3), R. R. Dickerson (2,3), K. Yang (1), C. Li(3), S. Carn (4), A. Krueger (4), P. K. Bhartia (4), P. F. Levelt (6)

Z. Li (3),  Hongbin Chen (7), Pucai Wang (7) and Daren Lu (7)

(1) Goddard Earth Sciences and Technology (GEST) Center, UMBC, Baltimore, MD

(2) Department of Chemistry, University of Maryland, College Park, MD

(3) Department of Atmospheric and Oceanic Sciences, University of Maryland, College Park, MD

(4) NASA Goddard Space Flight Center

(5) Joint Center for Earth Systems Technology (NASA/UMBC), UMBC, Baltimore, MD

(6) KNMI, Netherlands

(7) Inst of Atmos. Physics, Chinese Academy of Sciences, Beijing, P.R. China

Short title		OMI SO2 Validation over NE China

To be submitted to	Journal of Geophysical Research - Atmospheres

This draft version	8 August 2007

Index terms		to be determined

Author keywords	OMI, SO2, air quality, aerosols

New abstract

Collection 3 OMI SO2 results added

Calibration improvements paragraph (p.18)

SO2 temp correction added

New noise estimates

AMF -> AMF

New table 1b

Removed fig 3 (histograms)

New Figure 5

New figure 6

Added new references, Reformat references to JGR specs

Abstract

The Dutch-Finnish Ozone Monitoring Instrument (OMI) launched on NASA Aura satellite in July 2004 offers unprecedented spatial resolution, coupled with contiguous global coverage, for space-based UV measurements of sulfur dioxide (SO2). We present first validation of the OMI SO2 data with in-situ aircraft measurements near Shenyang in NE China in April 2005. The study demonstrates that OMI can distinguish between background SO2 conditions and heavy pollution on a daily basis. The detection limit ~1 DU (Dobson Unit, 2.69(1016 molecules/cm2) is estimated examining SO2 retrievals over background oceanic areas for optimal viewing conditions (no clouds, moderate solar zenith angles, near nadir viewing geometry). Under polluted conditions OMI operational (collection 2) data overestimate SO2 by 1 DU or 50%. Improved calibrations of the OMI radiance and irradiance data (collection 3 Level 1B data) result in improved agreement with aircraft measurements on polluted days (within 15% for a 2o by 2o area average). Parameterization of the airmass factor (AMF) is suggested to improve the accuracy of the SO2 data. Using aircraft in-situ measurements of SO2 and aerosol vertical profiles, combined with OMI ozone and reflectivity measurements, the operational AMF is corrected for total ozone, SO2 profile, viewing geometry and aerosol effects. The corrections assuming industrial aerosol model do not change the AMF significantly, but assuming dust aerosol model would decrease AMF substantially.  Therefore, quantifying aerosol absorption at SO2 absorbing wavelengths (310nm-330nm) is critical for accurate estimate of the SO2  burden using satellite UV measurements.

1. Introduction

Sulfur dioxide (SO2) is a short-lived gas, produced primarily by volcanoes, power plants, refineries, metal smelting and burning of fossil and bio-fuels. It can be a noxious pollutant or a major player in global climate forcing, depending on altitude. Most fossil fuel burning occurs near the surface where SO2 is released into the planetary boundary layer (PBL). Where SO2 remains near the Earth’s surface, it has detrimental health and acidifying effects, but exerts little impact on global climate or radiative forcing.  Emitted SO2 is soon converted to sulfate aerosol by reaction with OH in air or by reaction with H2O2 in aqueous solutions (clouds) [Seinfeld, J. H., and S. N. Pandis 1998; Chin et al 2000]. The mean lifetime varies from ~1-2 days or less near the surface to more than a month in the stratosphere (e.g., [Krueger et al 2000; Benkovitz et al 2004]). The resulted sulfate aerosol, which can be transported distantly in the free troposphere, can have climate effects, including direct radiative forcing and through aerosol-induced change in cloud microphysics. The concentration and lifetime of SO2, the meteorological mechanisms that loft it above the PBL, and the efficiency of those mechanisms remain major unanswered questions in global atmospheric chemistry and climate science [Dickerson et al 2007].

Emission inventories indicate that largest increases in tropospheric SO2 emissions have occurred in Asia during the last 20 years [Streets and Waldhoff 2000; Streets et al. 2003; Larssen et al 2006]. These increased emissions resulted in positive winter trend (17% per decade) in sulfate aerosol loading over Asia between 1979 and 2000 detected by the NASA Total Ozone Mapping Spectrometer (TOMS) instrument [Massie et al., 2004]. However, the TOMS sensitivity to gaseous SO2 is limited by the available instrument wavelengths and low spatial resolution (~50km in nadir and ~100km average) to large SO2 quantities in volcanic eruptions [Krueger et al 1995; 2000; Carn et al 2003] and exceptional SO2 pollution events [Carn et al 2004]. Greatly improved sensitivity was demonstrated through detection of volcanic and anthropogenic SO2 in Global Ozone Monitoring Experiment (GOME) [Eisinger 1998; Burrows 1999, Thomas et al 2005; Khokhar et al 2005] and Scanning Imaging Absorption Spectrometer for Atmospheric Chartography  (SCIAMACHY) [Bovensmann 1999; Bramstedt 2004; Richter et al 2006] full spectrum UV data. However, these sensors need several days to acquire a contiguous global map and hence could miss short-lived pollution events. The Dutch-Finnish Ozone Monitoring Instrument (OMI) [Levelt et al 2006] launched on NASA Aura satellite [Shoeberl et al 2006] in July 2004 offers better spatial resolution, coupled with contiguous global coverage, for space-based UV measurements of SO2. The OMI SO2 collection 2 data (OMSO2) are publicly available from the NASA's Goddard Space Flight Center Earth Sciences (GES) Data and Information Services Center (DISC) at http://disc.gsfc.nasa.gov/Aura/OMI/omso2.shtml. By using optimum wavelengths, the retrieval sensitivity is improved over TOMS by factors of 10 to 20, depending on location [Krotkov et al 2006].  The ground footprint of OMI is one eighth of TOMS [Levelt et al 2006]. These factors produce two orders of magnitude improvement in the minimum detectable mass of SO2. The improved OMI sensitivity permits daily observations of strong anthropogenic SO2 emissions (from smelters and coal burning power plants) [Krotkov et al 2006; Carn et al 2007; Krotkov et al 2007]. These retrievals require validation against independent measurements.

Low-altitude in-situ aircraft measurements (spirals) are important for validating satellite SO2 retrievals providing critical information about vertical profiles of gases (SO2, ozone) and aerosols in the PBL. Although such measurements are available for several years over US mid-Atlantic region [Taubman et al 2006], no data were previously available over China. Here we present the first comparisons of the OMI SO2 with in-situ aircraft measurements near Shenyang in NE China (Figure 1) [Dickerson et al 2007]. Aircraft and OMI PBL SO2 datasets are briefly discussed in section 2 together with error estimates. Parameterization of the airmass factor (AMF) is suggested to improve the accuracy of the operational OMI data. Section 3 describes aircraft comparisons with operational OMI PBL SO2 data for four days in April 2005 with different meteorological and air quality conditions. Several improvements to the operational OMI SO2 data are discussed including new OMI radiance and irradiance calibration (collection 3) and off-line AMF corrections based on aircraft measurements of altitude profiles of SO2 and aerosols.

2. Data Collection

2.1. Aircraft data

The aircraft measurements were performed as part of the East Asian Study of Tropospheric Aerosols: an International Regional Experiment (EAST-AIRE) [Li et al 2007]. Eight flights were completed between 1 April 2005 and 12 April 2005 with different flight paths

(http://www.atmos.umd.edu/~zli/EAST-AIRE/air_camp/air_camp.htm). Only 4 days with different air quality and meteorological conditions (April 1, 5, 7 and 10) were selected for comparisons because of the optimal OMI observational conditions (no clouds, near nadir viewing directions). All flights departed from Taoxian International Airport (41.640oN, 123.488oE) in the Liaoning province of China. Flight paths were similar on Apr 5, 7 and 10 (Figure 1).  Two spirals were performed daily over farmland, from about 300m up to 4,000m above sea level (asl) to the South (Liaozhong) and North (Xiaoming) of the Airport (Figure 1). The flight on April 1 was in North-South direction (to Harbin) with only one measured SO2 profile on the descent to the Taoxian International Airport.  The flights were made on a Chinese Y-12 twin-engine turboprop plane. Two inlets were located on top of the cockpit in front of the engines: a forward-facing isokinetic inlet to collect aerosols and a backward-facing inlet for trace gas measurements. All instruments on board have been used on previous flights over the US Mid Atlantic region [Taubman et al 2006] and are well characterized [Dickerson et al 2007]. SO2 was measured using a commercially modified [Luke 1997] pulse-florescence detector with relative accuracy ~15%. The contributions to this uncertainty include sampling line loss, instrument noise, and interference by other species.  Relative humidity and temperature were measured with a probe (EIL Instruments Inc., Rustrak RR2-252, Hunt Valley, MD) and pressure was monitored with a Rosemount Model 2005 Pressure Transducer. Location was monitored with a Global Positioning System receiver (Garmin GPS-90). The temperature and pressure measurements (accurate within 1%) were used to convert the SO2 mixing ratio to absolute concentration.  The concentrations measured during each spiral were extrapolated to the surface and vertically integrated below maximal aircraft altitude ~4km to estimate SO2 column amounts with overall uncertainty ~20%.  Other instruments on board have been previously described in more detail [Taubman 2006; Dickerson 2007]. Aerosol scattering coefficients at three wavelengths (450, 550, and 700 nm) were measured with an integrating nephelometer (TSI Model 3563) [Anderson et al. 1996]. The non-ideal forward scattering truncation was corrected following Anderson and Ogren [1998].

[Can, add about dust undersampling error and bias in estimating Angstrom coefficient]

Figure 2 shows typical aircraft SO2 data as function of flight time (Local Time (LT): LT=UT+8hours) on April 5th. On that day, high concentrations of SO2 (~10 ppb) and aerosols (scattering coefficients ~4×10-4 m-1) were observed within the PBL, below 1000m asl. Above the PBL, pollutant levels dropped rapidly with altitude, but were still substantial compared to background levels, with SO2 close to 1ppb and aerosols scattering coefficients close to 1×10-4 m-1 above 2000m asl.

2.2. OMI SO2 data

In the OMI data the three reported total SO2 values correspond respectively to the a priori profile assumptions of SO2 in the PBL (below 2 km) from anthropogenic sources, SO2 distributed between 5 and 10 km emitted by passive volcanic degassing in the free troposphere, and SO2 distributed between 15 and 20 km representing injection from explosive volcanic eruptions. The PBL data are processed with the Band Residual Difference (BRD) algorithm [Krotkov et al 2006], while all 5 km and 15 km data are processed with the Linear Fit (LF) algorithm [Yang et al 2007]. Both algorithms use the TOMS–like total ozone retrieval (OMTO3) [Bhartia and Wellemeyer 2002] as a linearization step to derive initial estimate of total ozone (assuming zero SO2) and the wavelength independent Lambertian effective surface reflectivity (LER). The OMTO3 algorithm accomplishes this by matching the calculated radiances to the measured radiances at a pair of wavelengths (317.5 nm and 331.2 nm under most conditions). The residuals at the 10 other wavelengths are then calculated as the difference between the measured and the computed N-values (N=-100*log10(I/F), I is Earth radiance and F is solar irradiance ) that account for the effects of multiple Rayleigh scattering, ozone absorption, Ring effect, and surface reflectivity. In the presence of SO2, the residuals contain wavelength structures that correlate with the SO2 absorption cross sections. The residuals also have contributions from other error sources. To reduce this interference, a median residual for a sliding group of pixels covering (15o latitude along the orbit track is subtracted for each spectral band and cross-track position [Yang et al 2007]. This “sliding median” empirical correction essentially acts as high-pass filter forcing median residuals to equal zero for all the bands. Doing so, the cross-track and latitudinal biases are reduced.

Only operational OMI PBL data, processed with the BRD algorithm, will be discussed in this paper. The algorithm uses the differential residuals at the three wavelength pairs with the largest differential SO2 cross-sections in OMI UV2 (310 – 380 nm) spectral region to maximize measurement sensitivity to anthropogenic emissions in PBL. Each pair residual is converted to SO2 slant column (SC) density using differential SO2 cross-sections data [Bogumil et al 2003] at constant temperature (275 K).  The pair-averaged SC is converted to the total SO2 vertical column in Dobson Units, (1DU=2.69(1016 molecules/cm2), using a constant air-mass factor (AMF) of 0.36:

(1)

This operational AMF is obtained for cloud and aerosol free sky conditions, overhead sun and nadir observational directions, 0.05 surface albedo, 1013.3hpa surface pressure, 325 DU mid-latitude ozone profile [McPeters et al 2007] and a typical summer SO2 vertical profile over the Mid Atlantic US region [Taubman et al 2006].

2.2.1 OMI SO2 precision

An estimate of the OMI SO2 precision (noise) and daily detection limit can be obtained by examining the retrieval statistics over pristine oceanic areas, where SO2 amounts are near zero [Seinfeld and Pandis 1998; Chin et al 2000]. For example, consider the area in South Pacific Ocean inside the 40S-44S and 128E-134E region on April 6, 2005 (Table 1a). The region was chosen because of absence of SO2 emissions, and similar observational conditions to the EAST-AIRE region (same orbit, same viewing geometry, absence of clouds). Table 1a shows that both area-mean and standard deviation (1.5DU) of the Instantaneous Field of View (IFOV) data do not change with size of the averaging area. Assuming zero SO2 over the region and Gaussian noise statistics, each IFOV SO2 retrieval is expected to be within +/-3DU (2() in ~95% cases. This noise level is too high to detect background SO2 amounts or most anthropogenic SO2 [Dickerson et al 2004]. Therefore, spatial averaging is recommended to reduce the noise. Should all the IFOV data be uncorrelated, the standard error of the mean SO2 would have scaled with the number of averaged IFOV data (n) as . Table 1b shows the measured noise statistics as function of averaging radius over pristine area on April 6. As n increases with the averaging radius, the measured noise standard deviation decreases, but more slowly than one would expect if the IFOV measurements were truly independent. Taking into account noise daily variations, we assume that the standard error of the area-averaged SO2 is 2 times measured standard deviation in Table 1b. The factor of 2 comes from the analysis of the day-to-day variability in the pristine area (Table 1c). For example, OMI noise in 30km averages (n~8) is estimated to be 1.2 DU (one sigma) and in 100km averages (n~90) it reduces ~0.6DU (one sigma).  The OMI detection limit is therefore ~3 DU (two sigma) for IFOV data, but reduces to ~1.2 DU (two sigma) for daily 100km averages. Time averaging further reduces the noise, enabling detection of weaker stationary SO2 emissions not obvious in daily data (Figure 1). The long-term (one year) mean over the S. Pacific region is zero with standard error ~0.05DU, while over NE China the long-term mean value is positive 0.65DU with the standard error ~0.1DU (Table 1c). These results illustrate persistent SO2 emissions over NE China (Figure 1). The high standard deviation over NE China is due to real SO2 variability.

2.2.2. OMI SO2 accuracy

The SO2 retrieval accuracy depends on the uncertainty in both slant column (SC), , and in average photon path, characterized by error in assumed AMF:  (1). The combined error,, can be expressed using equation (1) and assuming that  and , are not correlated:

(2)

where SC is the operational PBL SO2 value multiplied by the operational AMF=0.36 (1),  is SC error ( ~0.2DU or 5·1015 molecules/cm2 for a typical 2o by 2o area), estimated from the background  retrieval  noise statistics (section 2.2.1), with additional components due to uncertainty in laboratory measured SO2 cross-sections [Bogumil et al 2003] and assumption of constant PBL temperature. Assuming the effective PBL temperature ranges from 260K to 300 K, the OMI operational PBL SO2 values, derived by assuming constant effective temperature of 275K, are overestimated by 4% to underestimated by 8% at these two extremes. The error should be corrected for known SO2 and temperature profiles (see section 3.2).

The AMF error,, is systematic and increases with deviation of the observational conditions from those assumed in the operational algorithm. For a quantitative use of PBL SO2 data (i.e. emissions estimate), the operational AMF should be corrected to account for the actual observational conditions as discussed below. The remaining AMF errors () should be also estimated and combined with  using equation (2). The AMF depends on SO2 loading and vertical profile, surface albedo, RS, observational geometry (view (, solar zenith,(0 and relative solar azimuth ( angles), column ozone, (, aerosols and clouds:

(3)

(4)

where m(z, RS, (, R, (, (0, () is vertically resolved SO2 sensitivity (i.e. local AMF), ITOA  is OMI reflectance at the top of atmosphere, (SO2(z) is SO2 absorption optical thickness in a vertical layer between z [km] to z+dz [km],  and n(z) is dimensionless normalized SO2 vertical profile (Figure 4). Since, m(z) is weakly dependent on wavelength, we consider the spectrally averaged value over a narrow spectral window (i.e. 311 – 315nm) used by OMI BRD algorithm. Figure 3 compares typical PBL SO2 profile over summer mid Atlantic US  [Taubman et al., 2006] and measured over NE China during EAST-AIRE campaign in April 2005. Both SO2 profiles are dimensionless, normalized to a unit column SO2 amount. Therefore, AMF can be interpreted as a profile weighted mean value of the vertically resolved OMI SO2 sensitivity, m(z) (4). Although the typical SO2 profile shapes are quite different for US and China, it turns out that profile integrated AMFs are close ~0.4 in both cases. Therefore, AMF corrections due to the measured SO2 profile shape are expected to be small, typically within ~10%. Changing surface albedo from 0.05 to 0.1 increases AMF by ~35% (Figure 3, right). However, land albedo is typically small at short UVB wavelengths (311-315nm), so using default value RS =0.05 will result in less than 15% AMF error. A large increase in total ozone from 325DU to 425DU causes only a 10% decrease in AMF, but this systematic effect can be easily taken into account using OMI total ozone measurements. The AMF dependence on observational geometry ((, (0, () can be combined with total ozone dependence using a simple linear regression with respect to the slant column ozone (SCO) (Figure 4):

(5)

(6)

(7)

where ( is OMTO3 total ozone, ( and (0 are OMI nadir and solar zenith angles. The regression coefficients, r0 and r1 depend on the shape of SO2 vertical profile, surface albedo, relative satellite-solar azimuth ( angle and the presence aerosols and clouds. Figure 4 compares parameterized AMF values with the actual ones, calculated with the forward radiative transfer model [Dave 1964] for different ozone profiles, solar and view angles. The operational AMF of 0.36 is underestimated by 20% for SCO=700 DU (small ozone, solar zenith and nadir angles), but overestimated by ~30% for SCO=1500 DU. For larger SCO values (high ozone and/or high solar and viewing angles, mostly at high latitudes), AMF becomes very small, so valid PBL SO2 retrievals are not expected. The parameterization (6) does not account for AMF dependence on relative satellite-solar azimuth ( angle.  Due to the OMI polar solar synchronous afternoon orbit (1:45pm local equator crossing time), ( ranges between 0o and 30o for the cross-track positions 1-30, but ( ~150o –180o for positions 31-60 in the tropics. In the middle to high latitudes the ( angle approaches the range 60o –120o. As function of ( AMF typically decreases as ( increases from 0o to 180o, so in extreme cases a 20% error is possible. However, averaging regression coefficients for ( in the range 60o-120o reduces the error to +/-10%. Therefore, under cloud and aerosol free conditions the ~0.2·AMF(corrected).  However, aerosols and clouds can affect the error differently depending on many factors. The assumption in operational PBL algorithm is that clouds screen SO2, but no AMF correction is attempted to account for this hidden SO2. To avoid cloud uncertainty, only cloud-free days are considered for validation, so that OMI area weighted LER is less than 0.1 (Table 2). The aerosol AMF corrections are further discussed in section 4.

3. OMI SO2 validations.

Figure 5 shows operational OMI PBL SO2 values combined with high resolution MODIS RGB composites on 4 days in April 2005 selected for validation: April 1, 5, 7 and 10. The MODIS instrument is on board EOS AQUA polar orbiting satellite [REF], which orbits the Earth 15 minutes ahead of AURA along the same orbit. According to high resolution MODIS imagery the flight region (i.e. 451N-43N and 122E-124E) was cloud-free on all days as confirmed by low average OMI reflectivity (LER<0.1 Table 2). However, air quality was dramatically different on these days due to different meteorological regimes. Between April 5 and 7 and April 9 and 10 cold fronts traveled from continental China, over Korea on to the Sea of Japan. Polluted SO2 rich air was “pushed” ahead of the cold fronts and lofted above PBL. Mostly cloud-free and SO2-free air was behind the cold fronts. For example, the location of the cold front on April 7 could be clearly identified in both MODIS cloud and OMI SO2 maps (Figure 5c). Apparently high OMI operational SO2 values >5DU over Korea and SE China on April 1 and April 7 provide evidence of the SO2 pollution lofting above the PBL, where OMI SO2 sensitivity increases (figure 3).  Since the PBL OMI data are not corrected for the SO2 lofting effect, the operational values are overestimated. When an elevated SO2 plume travels above low-level meteorological clouds the sensitivity is enhanced due to cloud reflection (Figure 3) and the operational data are further overestimated. Therefore, for elevated plumes, off-line correction is needed to account for both SO2 plume height and underlying cloud reflectivity. Estimating SO2 amount for elevated plumes in the lower free troposphere (below 5km) needs special consideration and is subject of future studies. In this paper, we only consider OMI data over the EAST-AIRE flight region (41N-43N and 122E to 124E) where SO2 was located predominantly in the PBL as confirmed by aircraft in situ profile measurements (Figure 2).

3.1.  Area average comparisons.

Figure 6 shows operational OMI SO2 data over the EAST-AIRE flight region on the comparison days. Qualitatively, operational OMI measurements of SO2 agree with the aircraft in situ observations of high concentrations of SO2 (ca. 1-2DU) ahead of the cold front (April 1 and 5) and lower concentrations behind it (April 7 and 10). This comparison demonstrates that OMI can distinguish between background SO2 conditions and heavy pollution on a daily basis. Quantitatively, there are definite differences between aircraft and OMI operational measurements averaged over the flight region on both clean and polluted days as shown in Table 2. On clean days April 7 and 10 aircraft vertically integrated in-situ SO2 measurements (~ 0.1DU) were below the OMI detection limit (~1 DU). The difference between these days is that the April 5-6 cold front brought with it large amounts of desert dust as confirmed by high OMI Aerosol Index on April 7 (AI ~3 Table 2), while the AI value was low on April 10, suggesting no dust. Dust aerosols typically have strong absorption enhancement in the shorter UVB wavelengths [d’Almeida et al 1991; Sokolik and Toon 1999; Alfaro et al 2004] and could interfere with OMI SO2 retrievals. The dust interference is subject of future study.

As opposed to clean days, April 1 and 5 represent polluted air masses ahead of cold fronts (Figure 5). Trajectory analysis [Draxler and Rolph 2003] suggests the air on April 1 was from NW at 500, 1000, and 2000 m above ground level (Figure 5a).  The local meteorological records at the airport indicate weak winds with variable directions on that day. The trajectories on April 5 are mainly from South West.  Before arriving to the Shenyang area, the air passed over many emission sources in major industrial regions, including Beijing [An et al 2007] and Shanghai (SE). Aircraft measurements on April 5 show high SO2 concentrations throughout the PBL (up to 19ppb) and in the lower free troposphere (FT) (Figure 2). The aircraft daily spiral averages were 1.3DU on April 1 (only one profile measured) and 1.7DU on April 5 (average of 3 spirals). The operational area average OMI SO2 values (~2DU on April 1 and ~3DU on April 5) are substantially higher (up to factor of 2 or 1DU) than average aircraft measurements (Table 2).

One of the reasons for the OMI SO2 noise and bias are algorithmic assumptions in calculating residual data [Yang et al 2007]. The other reason is imperfect calibration applied to the OMI measured radiance and irradiance data available in the current operational collection 2 Level 1b data. Recently level 1b data have been reprocessed (collection 3 data) with several improvements applied to the calibration: (1) daily dark current maps subtracted from the measured radiance and irradiance data; (2) improved radiometric calibration in combination with modified stray light correction [Dobber et al 2007]. The preliminary analysis has shown that the improvement in handling the dark current (1) reduced “striping” OMTO3 residuals. The improved stray light correction (2) is also expected to have a positive effect of reducing the bias in the operational SO2 data. To demonstrate this, we re-ran the operational OMI SO2 algorithm using collection 3 OMTO3 residuals without making any changes to the algorithm and software. These results are shown in Table 2 as collection 3 OMI SO2 data. As can be seen, SO2 noise and positive bias on clear days remain about the same. However, collection 3 SO2 data are in better agreement with aircraft measurements (within 15%) on both polluted days.  Therefore, for quantitative analysis users are advised to use collection 3 OMI SO2 data available in Fall 2007.

3.2. Individual cases comparisons

Comparisons with individual aircraft spirals are summarized in Table 3. The OMI IFOV measurements were averaged within 30km of each spiral (n~4-9) and compared with vertically integrated (up to 4km) in-situ aircraft data. For such small samples, the OMI noise estimate is 1.2DU to 1.6DU (double the standard deviation in Table 1b), not including possible AMF error. Current OMI operational (collection 2) SO2 data are overestimated in all cases. The largest bias (2.3DU) was detected over Taoxian International Airport on April 5. The smallest bias ~0.5DU was detected on both April 10, the cleanest day and on polluted day, April 5 over Liaozhong (Table 3). Re-processing OMI SO2 data with re-calibrated radiance and irradiance data (see collection 3 operational data in Table 3) result in improved agreement with aircraft measurements on polluted days. The largest difference over Taoxian International Airport on April 5 is reduced to 1.3 DU was comparable to the OMI noise (one standard deviation).

Next, OMI data were corrected the temperature dependence of the SO2 cross-section [Bogumil et al 2003] using aircraft -measured SO2 and temperature profiles.  For example, the SO2 -weighted temperature was 289 K near Liaozhong  on April 5.  Assumption of constant PBL temperature 275K overestimates the differential SO2 cross-sections by 4.5% in this case, i.e., OMI operational SO2 values are underestimated by the same percentage.  Finally, SO2 data were corrected to account for the aircraft measured SO2 and aerosol profiles (Figure 7), total ozone and viewing geometry. The AMF correction due to aerosols was done using a linear regression approach (equations 5-7), where regression coefficients were re-calculated for each spiral depending on aircraft measured aerosol optical properties and aerosol and SO2 vertical profiles. The aerosol scattering coefficients were measured in-situ at 3 visible wavelengths: 450nm, 550nm, and 650nm. The Angstrom parameter was derived at each altitude and aerosol scattering coefficient at 500nm was spectrally interpolated (Table 3). The aerosol extinction optical thickness (AOT) at 500nm was estimated assuming default value of aerosol single scattering albedo SSA=0.9 at 500nm. The spectral dependence of extinction (AOT) and SSA was calculated using Mie code and refractive index and size distributions from OMI dust and industrial aerosol models  [Torres et al 2007].  These parameters together with SO2 and aerosol vertical profiles as well as TOMS climtological ozone vertical profile were input to the radiative transfer code to calculate AMF regression as a function of SCO. The specific AMFs for Liaozhong  spiral on April 5 are shown in figure 7 (left) for 3 scenarios: no aerosols; industrial aerosol model and dust aerosol model. Industrial aerosols (small particles, sulfate with black carbon mixtures) have little effect on AMF, while dust aerosol (large particles, with strong absorption in UV) greatly reduces AMF. The different effect is due to different spectral dependence of aerosol absorption between the 2 models. In general, aerosol scattering tends to increase the AMF, while aerosol absorption decreases it. Absorption in the OMI industrial model is due to black carbon particles (soot), which is spectrally independent. Therefore, absorption and scattering increase in the same ratio in the UV wavelengths keeping SSA almost constant with wavelengths. On the other hand, dust absorption increases in the UV wavelengths, considerably reducing SSA at 310nm. As result, OMI sensitivity to SO2 decreases almost by half in the presence of dust.

The AMF aerosol corrections were done only on SO2 polluted days, April 1 and 5. The type of aerosol used for AMF correction on these days was deduced from backward trajectories as well as aerial airplane measurements. For example, the air mass passing over flight region on April 5th originated in the South and was continental air as determined using NOAA HYSPLIT backward air-mass trajectories [Draxler 2003]. The air passed over many industrial emission sources including Beijing [An et al 2007], so that OMI absorbing industrial aerosol model with SSA(500nm)~0.92 [Torres et al, 2007] was used in the AMF corrections on that day. The AMF corrections with industrial aerosol model increased OMI bias, but the increase was within the noise of the measurements (i.e. largest increase by 0.6DU near Taoxian airport on April 7).  However, the AMF changes are small compared. The situation would have been drastically different should the dust aerosol model had been assumed. Assuming dust aerosol model (absorption increases at short UV wavelengths) would have doubled the OMI bias.  Therefore, determining pollution/dust aerosol ratio is critical for the accurate estimate of the SO2 burdens using satellite UV measurements.

4. Conclusions.

We present first OMI SO2 validation study conducted over Shenyang in NE China as part of EAST-AIRE field campaign in April 2005. SO2 observations from instrumented aircraft flights were compared with OMI operational (collection 2) and re-processed (collection 3) SO2 data on clear and polluted days under favorable observational conditions (no clouds, near nadir viewing directions). The following conclusions are drawn:

- Operational OMI PBL SO2 measurements qualitatively agree with the aircraft in situ observations of high concentrations of SO2 (ca. 1-2DU) ahead of the cold front (April 1 and 5) and lower concentrations behind it (April 7 and 10). This comparison demonstrates that OMI can distinguish between background SO2 conditions and heavy pollution on a daily basis.

- OMI operational SO2 IFOV noise ~1.5DU (1 standard deviation) was estimated over background regions in South Pacific in April 2005. Over clear ocean regions the IFOV standard deviation is independent of the sample size (n). However, for area-averaged values, the standard deviation reduces more slowly with n than one would expect if the IFOV measurements were truly independent. We estimate asymptotic noise value ~0.6 DU for a 2o by 2o area-average box (n~100) for an optimal observational conditions (no clouds, solar zenith angle ~40o and near nadir viewing angles). Temporal averaging of daily OMI data reduces the noise further allowing observation of weaker stationary SO2 sources.

- The positive bias was demonstrated in operational collection 2 OMI data (OMI being higher) on polluted days with high SO2 loadings (>1-2DU). Re-processing OMI SO2 data with better calibrated radiance/irradiance data (collection 3 Level 1b data) reduced the difference with aircraft measurements on polluted days, but have little effect on clean days. Users are advised to use collection 3 OMI SO2 data and consider empirical bias correction using either a threshold value, or noise statistics over adjacent clean region [Carn et al 2007].

- The operational SO2 data (either collection 2 or 3) should be corrected off-line to account for the AMF dependence on total ozone, SO2 profile, viewing geometry, and aerosol effects. The derived AMF corrections using aircraft measured SO2 and aerosol profiles and assuming industrial aerosol model [Torrest at al 2007] were relatively small compared to the retrieval noise. However, assuming dust aerosol model (absorption increases at short UV wavelengths) would have much larger effect on AMF. Therefore quantifying the spectral dependence of aerosol absorption at SO2 wavelengths (310nm-330nm) is critical for the accurate estimate of the SO2 mass using satellite UV measurements.

#### Acknowledgements

The Dutch-Finnish built OMI instrument is part of the NASA EOS Aura satellite payload. The OMI project is managed by NIVR and KNMI in The Netherlands. The authors would like to thank the KNMI OMI team for producing L1B radiance data and the U.S. OMI operational team for continuing support. Nickolay Krotkov, Russel Dickerson, Arlin Krueger, Simon Carn and Brittany McClure acknowledge NASA funding support through NASA OMI SO2 science team grant (NNG06GI00G) and Arlin Krueger, S. Carn, Kai Yang acknowledge NASA CAN (Number)? funding. Zhanqing Li acknowledges support from NASA Radiation Science Program (NNG04GE79G) to EAST-AIRE project. The authors are grateful to Jennifer Hains for help with aircraft data and Colin Seftor for producing OMI/MODIS composite figures.

Table 1a. IFOV SO2 noise statistics over background regions in South Pacific on April 6 2005. OMI operational data (collection 2), orbit 3858.

| Sample area | Number of IFOV data | Area mean SO2 value, DU | Standard Deviation, DU |
| --- | --- | --- | --- |
| 41S-43S; 130E-132E | 105 | -0.2 | 1.4 |
| 40S-44S; 128E-134E | 594 | -0.05 | 1.5 |
| Orbit 70S to 30N | 47684 | 0.02 | 1.4 |

Table 1b.  Area average SO2 noise statistics in South Pacific (41S-43S; 130E-132E) on April 6 2005. OMI operational data (collection 2) orbit 3858.

| Averaging radius, km | Number of IFOV, n | Area mean SO2 value | Standard deviation |  |
| --- | --- | --- | --- | --- |
| 20 | 4 | -0.23 | 0.82 | 0.73 |
| 30 | 8 | -0.22 | 0.62 | 0.48 |
| 40 | 14 | -0.22 | 0.51 | 0.36 |
| 50 | 22 | -0.22 | 0.44 | 0.29 |
| 60 | 32 | -0.21 | 0.39 | 0.24 |
| 70 | 44 | -0.20 | 0.36 | 0.21 |
| 80 | 57 | -0.18 | 0.33 | 0.18 |
| 90 | 72 | -0.16 | 0.31 | 0.16 |
| 100 | 89 | -0.16 | 0.28 | 0.15 |

Table 1c. Temporal statistics of daily area mean OMI PBL SO2 values from in 2005 over background region in over the S. Pacific and over EAST-AIRE flight region in NE China. Only days with at least 70 IFOV valid retrievals were used.

| Location | Region | Number of days | Annual Mean DU | Standard Deviation DU | Percent outliers outside +/- 2St Dev |
| --- | --- | --- | --- | --- | --- |
| S. Pacific | 41S to 43S 130E 132E | 75 | -0.01 | 0.6 | 7% |
| NE China | 41N to 43N, 122E to 124E | 110 | 0.65 | 1. 1 | 6 % |

Table 2   OMI and aircraft SO2 average column density over EAST-AIRE flight region (lat=41N-43N, 122E-124E ) in April 2005. Also shown are OMI regional average ozone [DU], Aerosol Index (AI) and reflectivity (LER) from OMTO3 algorithm. OMI regional standard deviation is shown in parenthesis.

| Day | Number IFOV n | OMI collection 2 data | OMI collection 3 | Aircarft Column SO21) |
| --- | --- | --- | --- | --- |
|  |  | Ozone (Std. Dev) | LER (Std. Dev) | AI (Std. Dev) | SO2 (Std. Dev) | SO2 (Std. Dev.) |  |
| Apr 1 | 74 | 399 (4) | 0.06 (0.08) | 1.8 (0.2) | 2.1(0.7 2) (1.4) | 1.4 (0.73) (1.5) | 1.3 (0.3 |
| Apr 5 | 113 | 366 (4) | 0.08 (1.1) | 2.1 (0.2) | 2.9(0.6 (1.2) | 1.9 (0.6 (1.2) | 1.7(0.3 |
| Apr 7 | 98 | 342 (3) | 0.05 (0.02) | 2.8 (0.6) | 0.9 (0.6 (1.4) | 0.9 (0.6 (1.3) | 0.1 ±?? |
| Apr 10 | 90 | 371 (5) | 0.09 (0.04) | 0.9 (0.3) | 0.45(0.6 (1.2) | 0.5 (0.6 (1.1) | 0.09±?? |

- Vertically integrated from surface to 4km in-situ SO2 profile averaged over all spirals.

- Noise estimate over background area in South Pacific (Table 1b) multiplying by factor of 2 to account for day-to-day variability (Table 1c) and not including AMF error.

- Collection 3 noise statistics in the same as collection 2.

Table 3.  Comparisons between Aircraft spirals and OMI SO2 measurements averaged within 30km for each spiral.  Spiral locations were 42.450N, 123.70E (Xiaoming, 138m asl) and 41.350N, 122.648E (Liaozhong, 15m asl ). All flights departed from Taoxian International Airport (41.640oN, 123.488oE, 58m asl) in Shenyang region.

| Day 2005 | Spiral location and start time (UT) | Aircraft 1) | OMI 2) |
| --- | --- | --- | --- |
|  |  |  | Collection 3 SO2 | Collection 2 3) |
|  |  | (aer (500) | Angstrom7) | SO2 | AMF corrected5) | Operational4) | SO2 | N | O3 | AI | LER |
| Apr 1 | Xiaoming, N/A | N/A | N/A | N/A | 0.9±1.4 | 0.7±1.4 | 1.9 | 6 | 395 | 1.6 | 0.07 |
|  | Taoxian 7:23 | 0.816) | 1.94 | 1.3 | 2.1±1.6 | 1.5±1.6 | 2.7 | 4 | 403 | 1.7 | 0.06 |
|  | Liaozhong, N/A | N/A |  | N/A | 1.6±1.4 | 1.1±1.4 | 1.5 | 6 | 404 | 2.1 | 0.07 |
| Apr 5 | Xiaoming 4:29 | 1.19 | 1.24 | 1.3 | 1.6±1.3 | 1.5±1.3 | 2.6 | 7 | 367 | 2.0 | 0.07 |
|  | Taoxian 5:17 | 0.64 | 1.26 | 1.52 | 2.7±1.2 | 2.8±1.2 | 3.8 | 9 | 371 | 2.1 | 0.07 |
|  | Liaozhong 3:12 | 1.11 | 1.29 | 2.3 | 2.5±1.2 | 2.4±1.2 | 2.7 | 8 | 367 | 2.4 | 0.09 |
| Apr 7 | Xiaoming 7:35 | 0.56 | 1.16 | 0.04 | N/A | 0.8±1.2 | 1.1 | 8 | 342 | 3.6 | 0.04 |
|  | Taoxian 9:20 | 0.43 | 1.23 | 0.22 | N/A | 1.5±1.3 | 1.6 | 7 | 342 | 2.5 | 0.04 |
|  | Liaozhong 8:57 | 0.41 | 1.23 | 0.03 | N/A | 1.5±1.4 | 1.3 | 6 | 341 | 4.3 | 0.02 |
| Apr 10 | Xiaoming 2:57 | 0.23 | 1.68 | 0.07 | N/A | 0.6±1.4 | 0.7 | 6 | 385 | 1.0 | 0.12 |
|  | Taoxian 4:53 | 0.17 | 1.49 | 0.21 | N/A | 0.7±1.3 | 0.5 | 7 | 381 | 0.7 | 0.14 |
|  | Liaozhong 4:28 | 1.38 | 1.80 | 0.04 | N/A | 0.6±1.3 | 0.5 | 7 | 376 | 0.8 | 0.10 |

- Aircraft in-situ measured SO2 concentrations were extrapolated to the surface and vertically integrated up to the maximal aircraft altitude ~4km to estimate SO2 column amounts with uncertainty ~20%.

- OMI IFOV data were averaged within 30 km of each spiral location;

- OMI operational collection 2 data:  Ozone, Aerosol Index (AI) and Reflectivity collection 2 data from NASA Total ozone algorithm [Bhartia and Wellemeyer 2002].

- Re-processed OMI data using operational SO2 algorithm with re- calibrated radiance and irradiance (collection 3 Level 1b) data [Dobber et al 2007].

- Collection 3 SO2 data with temperature and AMF corrections applied.

- AOT (500nm): Aircraft in-situ measurements of aerosol scattering coefficients at 450nm, 550nm and 650nm spectrally interpolated to 500nm and integrated from the surface up to 4km assuming single scattering albeo at 500nm: (~ 0.9;

- Due to the sampling system of the aircraft (and the use of mean values to represent a whole spiral), the average Angstrom exponents in the table do not necessarily serve as a correct indicator of aerosol type.

Figure captions

Figure 1.  (Left) Flight path on April 5, 2005. Spiral locations were performed near Xiaoming ( 42.450N, 123.70E)   and Liaozhong  (41.350N, 122.648E ). All flights departed from Taoxian International Airport (41.640oN, 123.488oE) in the Liaoning region of China. Flight paths were similar on Apr 1, 7 and 10 2005.

(http://www.atmos.umd.edu/~zli/EAST-AIRE/air_camp/air_camp.htm).

(Right) 2-year average OMI SO2 map over Eastern China in Dobson Units (1 DU=2.69 ·1016 molecules/cm2) showing persistent areas of high SO2 concentrations in a triangle between Beijing, Shanghai, and Sichuan basin in agreement with emission inventory [Zhang and Streets, 2007, unpublished data]. Smaller SO2 enhancements (i.e. ~0.5 DU) over the Shenyang region in North East China (black square) are significant as compared to the background regions.

Figure 2.  Altitude (blue) and in-situ SO2 (red) aircraft data as function of flight time (Local Time (LT): LT = UT + 8hours) on 5 April 2005 over northeastern China (figure 1). The amount of SO2 increases as the altitude decreases during the flight. These raw data were converted into 3 SO2 vertical profiles over Liaozhong (11:30LT); Xiaoming (12:30LT) and on the descent to Taoxian International airport (13:30LT). OMI overpass time (5UT) corresponds to 13LT.

Figure 3. Local AMF m(z) calculated for OMI nadir direction; Solar zenith angle 46o, 0.05 surface reflectivity, 325DU mid latitude TOMS climatological ozone profile; no aerosols and clouds;

Left: SO2 vertical profile: Normalized profiles: Measured during EAST-AIRE campaign on April 5 2005 over Liaozhong, NE China (blue stars); Median summer SO2 profile over mid Atlantic US [Taubman et al 2006] (Red diamonds). Both SO2 profiles are dimensionless, normalized to a unit column SO2 amount.

Right: Local AMF dependence on surface albedo (solid line – 0.05; dashed line – 0.1) and total ozone (red- TOMS 325DU mid latitude ozone profile and black color: 425DU TOMS mid latitude ozone profile).

## Figure 4.    AMF parameterization as function of Slant Column Ozone amount SCO:

for TOMS V8 climatological  mid latitude ozone profiles, different view and solar zenith angles, solar azimuth 90 deg and 0.05 surface albedo. No aerosols or clouds.

The operational AMF of 0.36 is shown as a solid horizontal line.

Figure 5.  OMI PBL SO2  maps (Linear color scale from 0 to 6 DU)  superimposed on  AQUA MODIS RGB images acquired 15 minutes prior OMI measurements during EAST-AIRE field campaign on April 1,5,7,and 10 2005. The aircraft spiral locations are shown with white symbols. Apparently high SO2 values (red colors) indicate SO2 lifting above PBL and /or above low level clouds, where OMI sensitivity is enhanced. Tropospheric winds are shown with yellow/blue (surface)  and white (850mb) arrows.

Figure 6.  Operational (collection 2) and un-corrected OMI PBL SO2 data over EAST-AIRE flight region in April 2005.

Figure 7 (Left)  SO2 AMF parameterization as function of SCO for 275DU  ozone profile, different view and solar zenith angles, solar azimuth 60o -120o and 0.05 surface albedo. Blue diamonds - no aerosols or clouds. Red stars – OMI Industrial aerosol model (sulfate and soot mixture).

Right: Blue lines: Normalized vertical profile of Aerosol scattering coefficient from aircraft in-situ measurements; Red lines: Normalized SO2 concentration profile from aircraft in-situ measurements on April 5. Symbols indicate spiral location: Xiaoming(triangle); Taoxian    (diamond) and Liaozhong (square).

#### References

An, X., T.Zhu, Z.Wang, C. Li, and Y.Wang, A modeling analysis of a heavy air pollution episode occurred in Beijing, Atmos. Chem. Phys., 7,3103-3114, 2007

Alfaro, S.C. , S. Lafton, J.L.Rajot, P. Formenti, A. Gaudichet, and M.Maille, Iron oxides and light absorption by pure desert dust: An experimental study, J. Geophys. Res., 109, D08208, doi:10.1029/2003JD004374, 2004

Anderson, T.L., D.S. Covert, S.F. Marshall, M.L. Laucks, R.J. Charlson, A.P. Waggoner, J.A. Ogren, R. Caldow, R.L. Holm, F.R. Quant, G.J. Sem, A. Wiedensohler, N.A. Ahlquist, and T.S. Bates (1996), Performance characteristics of a high-sensitivity, three-wavelength, total scatter/backscatter nephelometer, J. Atmos. Oceanic Technol., 13, 967-986.

Anderson, T.L., and J.A. Ogren (1998), Determining aerosol radiative properties using the TSI 3563 Integrating Nephelometer, Aerosol Sci. Technol., 29, 57-69.

Benkovitz, C.M., S.E. Schwartz, M.P. Jensen, M.A. Miller, R.C. Easter, and T.S. Bates (2004), Modeling atmospheric sulfur over the Northern Hemishere during the Aerosol Characterization Experiment 2 experimental period, J. Geophys. Res., 109, D22207, doi:10.1029/2004JD004939.

Bhartia, P. K. and C. W. Wellemeyer (2002), OMI TOMS-V8 Total O3 Algorithm, Algorithm Theoretical Baseline Document: OMI Ozone Products, edited by P. K. Bhartia, vol. II, ATBD-OMI-02, version 2.0.  Available: http://eospso.gsfc.nasa.gov/eos_homepage/for_scientists/atbd /docs/OMI/ATBD-OMI-02.pdf.

Bogumil, K., J. Orphal, T. Homann, S. Voigt, P. Spietz, O. C. Fleischmann, A. Vogel, M. Hartmann, H. Bovensmann, J. Frerick, and J. P. Burrows, Measurements of molecular absorption spectra with the SCIAMACHY pre-flight model: instrument characterization and reference data for atmospheric remote-sensing in the 230-2380 nm region.  J. Photochem. Photobiol.  A: Chem., 157, 167-184, doi:10.1016/S1010-6030(03)00062-5, 2003

Bovensmann, H., J. P. Burrows, M. Buchwitz, J. Frerick, S. Noël, V. V. Rozanov, K. V. Chance, and A. P. H. Goede (1999), SCIAMACHY: Mission Objectives and Measurement Modes, J. Atmos. Sci., 56(2), 127-150, doi:10.1175/1520-0469, 1999.

Bramstedt, K., A. Richter, M. Van Roozendael, and I. De Smedt, “Comparisons of SCIAMACHY sulfur dioxide observations”, Proceedings of the Second Workshop on the Atmospheric Validation of Envisat (ACVE-2), 3–7 May 2004, Frascati, ESA SP-562, 2004.

Burrows, J. P., Weber, M., Buchwitz, V., Rozanov, Ladstatter-Weisenmayer, A.,  Richter,A.,  de Beek,R.,  Hoogen,R.,  Bramstedt,K.,  Eichmann,K.U.,  Eisenger,M., Perner,D. (1999), The Global Ozone Monitoring Experiment (GOME): Mission Concept and first scientific results, J. Atmos. Science,  56: 151-175.

Carn, S. A., A. J. Krueger, G. J. S. Bluth, S. J. Schaefer, N. A. Krotkov, I. M. Watson, and S. Datta (2003), Volcanic eruption detection by the Total Ozone Mapping Spectrometer (TOMS) instruments: A 22-year record of sulphur dioxide and ash emissions, in Volcanic Degassing, edited by C. Oppenheimer, D. M. Pyle, and J. Barclay, Spec. Publ. Geol.  Soc. London, 213, 177-202, 2003.

Carn, S.A., N. A. Krotkov, M.A. Gray, and A.J. Krueger, Fire at Iraqi sulfur plant emits SO2 clouds detected by Earth Probe TOMS, Geophys. Res. Lett., 31, L19105, doi: 10.1029/2004GL020719, 2004

Carn, S. A., A. J. Krueger, N. A. Krotkov, K. Yang, and P. F. Levelt  (2007), Sulfur dioxide emissions from Peruvian copper smelters detected by the Ozone Monitoring Instrument, Geophys. Res. Lett., 34,  L09801, doi:10.1029/2006GL029020, 2007.

Chin, M., D. L. Savoie, et al. (2000). "Atmospheric sulfur cycle simulated in the global model GOCART: Comparison with field observations and regional budgets, J. Geophys. Res. 105(D20): 24689-24712.

d’Almeida, G.A. , P. Koepke, and E.P. Shettle, “Atmospheric aerosols: global climatology and radiative characteristics”, A. Deepak Publ., Hampton, VA., 557pp, 1991

Dave, J.V. (1964), Meaning of successive iteration of the auxiliary equation of radiative transfer, Astrophys. J., 140, 1292-1303.

Dickerson,R.R., J.C.Hains, and J.P. Burrows, Combining in-situ and remote measurements with models: picking the right tools”, EOS Trans. AGU, 85(17), Jt. Assem. Suppl., Abstract A31D-02, 2004

Dickerson, R. R. e. a. (2007), Aircraft observations of dust and pollutants over NE China: Insight into the meteorological mechanisms of long-range transport, under review, J. of Geophys. Res., Special Issue on EAST-AIRE (2006JD00781).

Dobber, M.R., Q. Kleipool, R. Dirksen, P.F. Levelt, G. Jaross, S. Taylor, T. Kelly, L. Flynn (2007), Validation of Ozone Monitoring Instrument level-1b data products, J. Geophys. Res, this issue.

Draxler, R.R., and G. D. Rolph, (2003), HYSPLIT (HYbrid Single-Particle Lagrangian Integrated Trajectory) Model access via NOAA ARL READY Website htttp://www.arl.noaa.gov/ready/hysplit4.html). NOAA Air Resources Laboratory, Silver Spring, MD.

Eisinger, M., Burrows, J.P. (1998). "Tropospheric sulfur dioxide observed by the ERS-2 GOME instrument, Geophys. Res. Lett.,  25, 4177-4180.

Khokhar, M.F., C. Frankenberg, M. Van Roozendael, S. Beirle, S. Kühl, A. Richter, U. Platt, and T. Wagner (2005), Satellite observations of atmospheric SO2 from volcanic eruptions during the time-period of 1996–2002, Advances in Space Res., 36(5), 879-887, doi:10.1016/j.asr.2005.04.114.

Krotkov, N.A., S.A. Carn, A.J. Krueger, P.K. Bhartia, and K. Yang (2006), Band residual difference algorithm for retrieval of SO2 from the Aura Ozone Monitoring Instrument (OMI), IEEE T. Geosci. Remote Sens., 44(5), 1259-1266, doi:10.1109/TGRS.2005.861932.

Krotkov, N., A. Krueger, K. Yang, S. Carn, PK Bhartia, and P. Levelt,  SO2 Data from the Ozone Monitoring Instrument (OMI),   in Proceedings, ENVISAT  Symposium, Montreux, April 24-27, 2007.

Krueger, A. J., L. S. Walter, P. K. Bhartia, C. C. Schnetzler, N. A. Krotkov, I. Sprod, G. J. S. Bluth, Volcanic sulfur dioxide measurements from the total ozone mapping spectrometer instruments, J. Geophys. Res., 100(D7), 14057-14076, 10.1029/95JD01222, 1995.

Krueger, A.J., S.J. Schaefer, N. Krotkov, G. Bluth, and S.  Barker, Ultraviolet Remote Sensing of Volcanic Emissions, in Remote Sensing of Active Volcanism, ed by P.  Mouginis Mark, and Joy Crisp, AGU Monograph, American Geophysical Union, 25-43, 2000

Larssen, T., et al. (2006), Acid rain in China, Environ. Sci. Technol., 40, 418-425, 2006.

Levelt, P.F., G.H.J. van den Oord, M.R. Dobber, A. Mälkki, H. Visser, J. de Vries, P. Stammes, J. Lundell and H. Saari (2006), The Ozone Monitoring Instrument, IEEE Trans. Geo. Rem. Sens., 44 (5), 1093–1101, doi:10.1109/TGRS.2006.872333.

Li, C., L. T. Marufu, R. R. Dickerson, Z. Li, T. Wen, Y. Wang, P. Wang, H. Chen, and J. W. Stehr (2007), In situ measurements of trace gases and aerosol optical properties at a rural site in northern China during East Asian Study of Tropospheric Aerosols: An International Regional Experiment 2005, J. Geophys. Res., in press.

Li, Z., et al., Preface to special section: Overview of the East Asian Study of Tropospheric Aerosols: an International Regional Experiment (EAST-AIRE), J. Geophys. Res. Special section on EAST-AIRE,submitted, 2007

Luke, W. T. (1997). "Evaluation of a commercial pulsed fluorescence detector for the measurement of low-level SO2 concentrations during the Gas-Phase Sulfur Intercomparison Experiment, J. Geophys. Res.,102, 16255-16265.

Massie, S.T., O. Torres, S.J. Smith, Total Ozone Mapping Spectrometer (TOMS) observations increases of Asian aerosol in winter from 1979 to 2000, J. Geophys. Res., 109, D18211, doi:10.1029/2004JD004620, 2004

McPeters, R. D., G. J. Labow, and J. A. Logan (2007), Ozone climatological profiles for satellite retrieval algorithms, J. Geophys. Res., 112, D05308, doi:10.1029/2005JD006823.

Richter, A., F. Wittrock, and J.P. Burrows (2006), SO2 measurements with SCIAMACHY, in Proc. Atmospheric Science Conference, 8–12 May 2006, ESRIN, Frascati, ESA.

Seinfeld, J. H., and S. N. Pandis (1998), Atmospheric chemistry and physics: From air pollution to climate change, John Wiley & Sons, New York, pp. 1326.

Sokolik, I.N. and O.B. Toon, Incorporation of mineralogical composition into models of the radiative properties of mineral aerosol from UV to IR wavelengths, J. Geophys. Res. , 104, (D8), 9423-9444, 1999.

Streets, D. G., T. C. Bond, Carmichael, G.R., et.al. (2003), An inventory of gaseous and primary aerosol emissions in Asia in the year 2000., J. Geophys. Res. 108(D21), 8809, doi:10.1029/2002JD003093, 2003

Streets, D. G. and S. T. Waldhoff (2000). "Present and future emissions of air pollutants in China: SO2, NOx, and CO." Atmospheric Environment 34(3): 363-374.

Taubman, B.F., J.C. Hains, A.M. Thompson, L.T. Marufu, B.G. Doddridge, J.W. Stehr, C.A. Piety, and R.R. Dickerson (2006), Aircraft vertical profiles of trace gas and aerosol pollution over the mid-Atlantic United States: Statistics and meteorological cluster analysis, J. Geophys. Res., 111(D10), D10S07.

Thomas, W., T. Erbertseder, T. Ruppert, M. Van Roozendael, J. Verdebout, D. Balis, C. Meleti, and C. Zerefos (2005), On the Retrieval of Volcanic Sulfur Dioxide Emissions from GOME Backscatter Measurements, J. Atm. Chem., 50, 295--320, doi:10.1007/s10874-005-5544-1.

Torres, O., A. Tanskanen, B. Veihelman, C. Ahn,  Remco Braak, Pawan K. Bhartia,  Pepijn Veefkind, and Pieternel Levelt,  Aerosols and surface UV products from OMI observations: An overview, J. Geophys. Res., this issue

Yang, K., N. Krotkov, A. Krueger, S. Carn, P. K. Bhartia, and P. Levelt, Retrieval of Large Volcanic SO2 columns from the Aura Ozone Monitoring Instrument (OMI): Comparisons and Limitation, J. Geophys. Res., this issue, 2007