Chapter 9:    Ultraviolet Radiation at the Earth’s Surface

WMO/UNEP 1998

REVIEW COPY

4 FEBRUARY 1998

Lead Authors:   J Herman and R McKenzie

Co-authors:  S Diaz, J Kerr , S Madronich, G Seckmeyer

Contributors:

G Bernhard

M Blumthaler

B Bodhaine

R Booth

P Forster

N. Krotkov

J. Lenoble

K Leszczynski

C Long

F Mims

P Neale

R Piacentini,

K Ryan

H  Slaper

J Slusser

C Zerefos

Editing

E. Celarier

G. Labow

R. Wooldridge

Possible Reviewers:

R Booth

W Grant

H  Slaper

P. Simon

P. Taalas

Chapter 9: Ultraviolet Radiation at the Earth’s Surface

WMO/UNEP 1998

REVIEW COPY        4 FEBRUARY 1998

SCIENTIFIC SUMMARY

The field of ultraviolet-flux (UV-flux) determination has grown considerably in the last 4 years with notable improvements in calibration, ground-based instrumentation, and the use of satellite-borne sensors. The recent estimation of UV-fluxes and trends including cloud effects from a stable well calibrated satellite instrument (Nimbus-7/TOMS) takes advantage of the spatial averaging and contiguous global coverage inherent in the measurement. This permitted the first global estimate of UV-flux trends that included cloud attenuation. The study of UV at the Earth’s surface should combine the results from the global flux estimates available from satellite observations and local networks of intercompared ground-based spectrometers and radiometers.  This permits the local and regional effects of clouds, ozone, and aerosols on UV fluxes to be properly assessed.  It is necessary that the satellite estimations of UV flux be validated under the widest possible range of geophysical conditions.  Once the validation is accepted, the time-averaged satellite estimations can be used to monitor the calibration stability of widely separated ground-based instruments of all types.

The inverse relationship between decreasing ozone amount and increasing level of UV-B radiation (280 nm - 315 nm) has been firmly established in both theory and measurements. The measured effects of altitude, aerosols, and geographic differences,  are much better understood. While the record of ground-based measurements is not long enough to reliably determine decadal changes in UV fluxes, estimates have been obtained from TOMS satellite measurements of backscattered UV radiances that show increases in UV-B fluxes at latitude poleward of 35o.  Aside from establishing long-term stability and accuracy of ground-based instruments, the principal impediment to detecting long-term UV-flux changes is that clouds, aerosols, and short-term ozone changes produce daily, monthly, and interannual changes that are larger than the important long-term trend.  As with satellite data, networks of well-calibrated ground based instruments can be combined to produce geographic averaging to reduce some of the effects of local natural variability.  Currently, the best intercomparisons between different instruments are within ±5%.  New types of filter instruments have been developed that promise good results at lower costs. All types of instruments and their calibrations have improved substantially, but still must be further improved if long-term UV-flux trends are to be detected using local data.

The problem of intercomparison and calibration of ground based instruments is being addressed through the use of newly developed central calibration facilities.  The addition of these centers (e.g., in Boulder, Colorado, USA and in Garmisch-Partenkirchen, Germany) should help to reduce problems in future years.

Public interest related to UV exposure has been addressed by establishing an Internationally-standardized UV Index in many countries to provide daily information about the intensity of  UV radiation.

9.1  INTRODUCTION

The ultraviolet region (280 nm - 400 nm) of the solar radiation spectrum accounts for a small fraction of the total radiant energy that reaches the Earth’s surface.  However, this spectral region has significant impact on various chemical and biological processes, since photon energies there are comparable to chemical bond strengths.  Clouds, non-absorbing, and absorbing aerosols (dust and smoke) can further reduce the amount of ultraviolet (UV) radiation reaching the ground at all wavelengths, whereas absorption by ozone occurs mostly in the UV-B range (280 nm to 315 nm). UV radiation between 320 nm and 400 nm is almost completely unaffected by ozone. Because of the cloud/aerosol variability that occurs over large regions from year to year, and over longer periods of several years, it is very difficult to detect UV-B increases caused by the few percent long-term ozone amount decreases for latitudes between 30o and 65o in both hemispheres.  An exception to this occurs in Antarctica where the large springtime ozone decreases (70%) have caused large increases in UV-B.

Assessing the impact of ultraviolet radiation on biological processes requires accurate and sustained monitoring of UV fluxes over the entire globe from both ground [e.g., Kerr and McElroy, 1993] and satellite instruments [Herman et al., 1996b] if transient or coincidental biological phenomena are to be distinguished from those caused by UV-flux changes.  The ground-based instruments are necessary to understand the effects of clouds, aerosols, and local terrain on UV radiation reaching the ground, whereas only the satellite estimation of UV radiation can give the global and regional perspective necessary for understanding the overall influences of UV radiation on the Earth’s surface.

It is also necessary to determine the sensitivities of biological processes in different regions of the UV (action spectra)  [Madronich, 1993; Horneck, 1995].  A discussion by Sutherland [1995] points out a number of pitfalls associated with directly using published action spectra. A review of the changes in UV radiation reaching the Earth’s surface and the biological effectiveness of UV radiation are given by Madronich [1995].  Changes in UV-A and UV-B reaching the Earth’s surface from meteorological or ozone changes have effects both on the land [Longstreth et al., 1995; Madronich et al., 1994; Madronich and deGruijl, 1993; 1994;Slaper et al., 1996] and on the marine underwater environment, particularly the basic elements of the food chain, phytoplankton [Cullen and Neale, 1994].  Some of the changes in UV flux arise from combinations of environmental factors. For example, recent changes in lakes from acidification has resulted in clearing of the water that allows greater penetration of UV [Schindler et al., 1996; Leavitt, et al.,1997].

There is no longer any doubt that UV flux increases at the Earth’s surface are directly correlated with ozone decreases in the atmosphere [Madronich et al., 1995; Bodhaine et al., 1996; 1997; Kerr and McElroy, 1993].  The effect of decreasing atmospheric ozone content on surface UV flux has been confirmed by both ground- based instrumentation and by satellite data analysis [Herman et al., 1996b]. An analysis by Zerefos et al., [1995a; 1995b; 1997] of data collected within Europe has shown that ozone is a significant factor in long-term changes in UV flux at the ground for wavelengths shorter than 320 nm.  In addition to changes in ozone amount, evidence suggests that changing aerosol (and cloud) conditions can lead to increases or decreases in UV [Justus and Murphey, 1994; Mims and Frederick, 1994; Forster and Shine, 1995; Dahlback, 1996].  The distribution of UV-absorbing aerosols over land and water has been detected from satellite measurements [Herman et al., 1997] and can lead to local and regional reductions in UVA and UVB.  In some regions (e.g., the Sahara desert) the reduction in UV flux can be large, up to 50% to 80% relative to clear-sky conditions [Krotkov et al., 1998].  Smaller UV reductions of 10% to 20% also occur under the more widespread non-absorbing aerosols prevalent in the northern hemisphere [Seckmeyer et. al. 1994;  Krotkov et al., 1998].

While there are still questions about the observing conditions of individual instruments (i.e., locations near pollution sources [Varotsos et al., 1995], temperature dependence, and absolute calibration), current analyses indicates that the UV data record is in agreement with the known changes in total ozone when meteorological changes are included.  Since the last evaluation, more emphasis has been put into ground-based spectral instrument measurements and satellite-derived estimates of UV-flux reaching the Earth’s surface.  The satellite results estimated from TOMS (Total Ozone Mapping Spectrometer) measured radiances are a global daily image of the spectral and geographic distribution of UV-flux over the UVA and UVB range. The TOMS UV-flux estimates are derived from radiative transfer calculations using remotely measured ozone amounts, cloud reflectivities, aerosol amounts, and extraterrestrial solar flux [Cebula et al., 1994; 1996].  Surface UV fluxes have also been derived from the ERS-2/GOME and NOAA/AVHRR satellite instruments [Meerkoetter et al., 1997].

Instrument development over the past few years has continued to address the issues of stability, spectral response, spectral resolution, cost, and ease of maintenance in an attempt to meet the varied needs of the community. With further development, the use of satellite-derived UV-fluxes may serve as an additional QA or calibration possibility.  Even though the satellite-derived UV fluxes compare very closely to ground-based measurements at a single site, Toronto [Eck et al., 1995], it has not yet been satisfactorily demonstrated that the satellite UV data can be used to compare two instruments at different locations to detect small calibration differences in the presence of aerosols and clouds.

It is still the case, as stated in the 1994 WMO report [McKenzie et al., 1995a], that “The measurement of trends in UV is challenging from an instrumental point of view, and the availability and deployment of instruments to monitor trends in UV have been far from ideal.”  While there has been a significant increase in the number of instruments deployed and in the effort to calibrate these instruments, many problems remain. The addition of several calibration facilities or regional QA (Quality Assurance) centers should help to reduce the problems in future years. Two examples are the calibration facilities in Boulder, Colorado to calibrate broadband and spectral instruments and the German reference instrument (QA center) in Garmisch-Partenkirchen.

Many parts of the world maintain large networks of ground-based UV instruments of various types. Most prominent among these are the networks operating in Canada, the US, and Europe. For the southern hemisphere, an important installation is in Lauder, New Zealand.   In South America and the Antarctic peninsula, several UV instruments are installed and have been collecting data. These sites include Palmer Station in Antarctica, Punta Arenas, Valdivia and Santiago de Chile, in Chile, and Ushuaia, Puerto Madryn, Jujuy and Buenos Aires in Argentina. In this project, which involves scientists from various countries, in addition to Chile and Argentina, the disparate networks are brought together within a centralized data processing and quality control facility in Ushuaia. This South American network is based on a model of the U.S. network, where a collection of smaller UV networks (e.g., USDA, NSF, EPA, NOAA, and univertities) composed of different instruments are linked by standardized protocols, intercomparisons, and calibrations.

The primary archive of spectral UV data is at the World Ozone and Ultraviolet radiation Data Center (WOUDC) in Toronto [Environment Canada., 1997].  The WOUDC database consists of more than 600,000 spectra representing more than 120 station years from 23 sites. There are plans to make the database available on CD-ROMS.  Other data sets are recently available from individual groups [e.g. Gardiner et al, 1993; McKenzie et al, 1993].  Process studies using these data have already provided experimental corroboration of the modeled relationship between ozone and UV [WMO, 1991; 1994].

This chapter reviews progress made in our understanding of UV radiation that reaches the Earth’s surface since the last assessment [WMO,1994].  In addition, this review will attempt to identify some of the most important outstanding problems in the quantitative determination of UV-fluxes at the Earth’s surface.  Impacts of UV increases (e.g. effects on the biosphere, including human health and materials) are outside the scope of this report, and are discussed in the UNEP “Effects Panel” reports [1991, 1994].  Impacts on tropospheric chemistry that may result from changes in UV radiation fields are discussed in Chapter 5 of this report.

Changes since the 1994 Assessment

C	There are improved radiometric calibration techniques in addition to the establishment of well-maintained central calibration facilities.  Techniques have been developed for accurate wavelength calibration,  including the effects of wavelength non-linearities, using Fraunhofer line structure in extraterrestrial flux measurements.

C	Expansion of the Canadian World Ozone and Ultraviolet Radiation Data Center (WOUDC) and the European database, Scientific UV Data Management (SUVDAMA), has significantly improved the availability and distribution of data to researchers studying the effects and behavior of UV-B radiation.

C	The number, distribution, and quality of UV instruments has greatly improved throughout the world, especially in South America.

C	Extensive intercomparisons of ground-based instruments have been made.

C	Anomalous results from R-B meter trend estimates have been explained and corrections have been applied to the derived UV-flux trends.

C	Long-term global increases in UV fluxes have been estimated from satellite-measured backscattered UV radiance data (TOMS).

C	UV-A and UV-B fluxes, estimated from satellite measurements of ozone and cloud transmissivity, have been shown to agree with spectroradiometer measurements.

C	Measurements have shown and, in some cases, quantified the effects of clouds, aerosols and surface albedo on UV-A and UV-B.  In addition, improvements have been made in modeling of clouds, particularly broken clouds.

C	The UV-B flux relationship to ozone changes has been firmly established in both theory and measurements.

C	Well-calibrated UV spectral time series are now available at some ground sites for periods of up to 9 years (Toronto). However, the long-term stability needed for trend estimates has not been demonstrated for any ground-based UV instrument.

C	Improved estimates of inter-hemispherical differences in UV-flux have been obtained.

C	Altitude gradients of UV flux are found to be less in clean areas of the Southern Hemisphere compared to polluted areas of the Northern Hemisphere.

C	Increases in UV-B in the Northern Hemisphere at high latitudes have been attributed to the very low winter and spring ozone amounts at high latitudes, particularly since 1996.

C	UV increases and ozone decreases have stabilized during the past 3 years in the springtime Antarctic region.

C	Different classes of radiative transfer models have been successfully inter-compared and found to agree within 1% for fluxes. Current radiative transfer models include DISORT (fast, high optical depths, currently no polarization effects), Dave (Fourier expansion method, optical depth less than 10, includes polarization), Gauss-Seidel models (fast, moderate optical depths, arbitrary aerosol phase function, includes polarization), Monte-Carlo (broken clouds, arbitrary scattering phase functions and absorption), and full spherical geometry models (polarization, moderate optical depths, accurate limb calculations).  Other models exist (e.g., MODTRAN, UVSPEC) but have not been compared as extensively for UV fluxes.

C	UV-related indices are in use by many countries that combine ozone measurements and meteorological cloud forecasts to provide a public warning system.

9.2  GROUND-BASED OBSERVATIONS OF UV

The majority of UVA and UVB instruments fall into the following classes.  1. Broadband (e.g., with approximate erythemal weighting [McKinlay and Diffey, 1987] ), 2. Multi-channel medium spectral resolution (2 nm to 10 nm resolution), 3. High resolution Spectroradiometers (0.5 nm to 1 nm resolution).  The multi-channel instruments sample flux at a number of fixed wavelength bands determined by the transmission of individual filters.  The spectrometers usually sample at a uniform wavelength interval comparable to its resolution.  Most UVA and UVB instruments are designed to measure the flux of radiation falling on a horizontal surface (global flux).  This is usually done by measuring the brightness of the underside of a horizontal diffuser which is suitably exposed to view the entire sky with as little obstruction as possible.  In order to measure the horizontal flux, the diffuser should transmit radiation in proportion to the cosine of the angle from normal (vertical) incidence.

Multi-year spectral and broadband data are available from a network of instruments operated by the National Science Foundation (NSF) on CD-ROMS [Booth et al., 1994], from the USDA UVB monitoring program operated by Colorado State University (data available on http://uvb.nrel.colostate.edu/uvb) [Bigelow et al., 1998], and from several other groups (e.g., a network in Japan, the Environmental Protection Agency) [Gardiner et al., 1993; McKenzie et al., 1993; Kerr and McElroy, 1993; Ito et al., 1994].  As mentioned earlier, data are also available from the WOUDC archive of spectral UV fluxes in Toronto [Environment Canada, 1997]. Process studies using these data have already provided experimental corroboration of the modeled relationship between ozone and UV [WMO, 1991, 1994].  An additional repository of UV data has been established in the Finnish Meteorological Institute, Helsinki, Finland (Scientific Data Management, SUVDAMA) that is planned to have close links with WOUDC.

9.2.1 Broadband Meters

Broadband meters provide an important source of UV information over wide geographic areas and over long time periods. Compared to multi-channel spectroradiometers, their low cost and rapidity of measurement make them very attractive for monitoring UV fluxes.  It should be noted, however, that considerable efforts in quality control and assurance (QC/QA) are required to produce scientifically useful information from broadband instruments. While inherently fairly stable, changes in their spectral response can lead to errors that are difficult to detect without careful examination of these instruments.  Multi-channel filter instruments have an advantage in making nearly simultaneous measurements at many wavelengths compared to grating spectroradiometers that require several minutes to complete a wavelength scan.  Simultaneous wavelength measurements are useful for separating cloud and aerosol effects from ozone effects.

Interest is still strong in the historical record for broadband instruments, particularly in the well-discussed work of Scotto et al. [1988] which showed a decline in annually integrated UV-flux measured by eight Robertson-Berger (RB) meters in the continental United States between 1974 and 1985.  The average trend based on the eight stations was -0.7 percent per year, while the statistically significant values for individual stations varied from -0.5 to -1.0 percent per year.  DeLuisi and Barnnett [1992] uncovered a potential shift in calibration of the RB-meter network in 1980 that could remove the downward trend found by Scotto et al. [1988].   A re-analysis of the RB-meter data [Weatherhead et al., 1997] and an extension through 1991 showed a UV decrease of -0.6% per year in agreement with the original work by Scotto et al. [1988].  However, when corrections are made for “mean level shifts”, which may be due to calibration changes and instrument related problems, the resulting overall trend is found to be +0.2% per year (not statistically significant).  The small rate of increase is also in agreement with recent analysis of UV trends estimated from the Total Ozone Mapping Spectrometer (TOMS) satellite data [Herman et al., 1996b] for the same geographical region.  A new study using RB meters (1976-1992) and a 501 Biometer (1993-1994) located at Belsk, Poland (52o N) found increases in UV-flux of 0.23±0.04 percent per year including cloud cover changes that partially offset changes due to stratospheric ozone decreases [Krzyscin, 1996, Nemeth et al., 1996].

9.2.2 Spectroradiometers

Spectroradiometers consist of medium and high spectral resolution filter and grating instruments.  These cover the entire UV-A and UV-B range of wavelengths with the purpose of both measuring the amount of UV flux and determining the atmospheric processes that contribute to UV-flux attenuation (e.g., ozone, SO2, aerosols) and variability (e.g., ozone, clouds).  Their increased cost and maintenance is offset by the wealth of spectral detail available and their ability to independently determine ozone and aerosol amounts, and to estimate the extraterrestrial UV flux.  Changes in ozone amount produce a clear spectral signature that is quite different from UV flux changes produced by aerosols, clouds, and surface reflectivity.  Unlike broadband instruments, the variability produced by clouds can be greatly reduced by forming ratios of longer wavelength channels (> 320 nm) to shorter wavelength channels (< 310 nm).

The quantity and quality of spectroradiometers in use for studies of UV radiation at the surface has improved significantly since the last assessment.  Generally, the time period of observations is still too short to determine UV trends unambiguously with these instruments.  However, they have been used to demonstrate the spectrally resolved effects of changes in ozone amount, cloud cover, surface albedo, and observing  altitude, as well as preliminary UV-flux trend estimates.

9.2.3 Instrument Calibration and Measurement Uncertainties

An important part of the UV-flux calibration process is determining the spectral response of an instrument.   For a filter instrument (either broad- or medium-band), the combined spectral transmission of the filter and the spectral alignment of the sensor must be known.  The filter transmission and sensor response can be measured either separately or together.  The wavelength response of spectroradiometers is often determined by using spectral scans of lamps with emission lines at known wavelengths.

Figure 9.2-1 shows the wavelength sensitivity of the surface flux (percent flux change per 0.1 nm wavelength shift) at different spectral resolutions simulating the measurements taken with spectroradiometers (Brewer instrument -0.5nm) to filter instruments (-5nm). The sharp features of the solar Fraunhofer-line spectrum in the UV-B region (see section 9.3.1) pose specific instrumental problems that must be overcome to cope with the wide dynamic range and the need to align wavelengths accurately [McKenzie et al., 1992, Slaper et al., 1995].  Particularly for those instruments with higher resolution, wavelength alignment is critical because of the structure of the solar spectrum and the strong wavelength dependence of the ozone absorption cross section.  The result is that small errors in wavelength alignment can complicate intercomparisons between instruments.   At high spectral resolution the errors of 5-10% are possible near the solar Fraunhofer lines throughout the entire UV spectral region. At low resolution, the flux is still sensitive to wavelength shift in UVB region, because of the sharp increase in ozone absorption.  Integrating the measured fluxes from a high resolution instrument over one of the broadband action spectra reduces the effect of the wavelength alignment error.

The flux sensitivity to a wavelength shift of 0.1nm at different spectral resolutions simulating measurements taken with spectroradiometers  (FWHM = 0.5 nm for Brewer instrument) to filter instruments (FWHM  .5nm)

The study by Slaper et al. [1995] demonstrates a simple method that permits improvement in wavelength alignment for ground-based instruments using measured high spectral resolution extraterrestrial fluxes.  The method is based on minimization of the sum over wavelengths of the squared deviation of the ratio of extra-terrestrial fluxes to the wavelength-shifted ground-based fluxes.  Since the method is independent of the atmospheric parameters and radiative transfer calculations, it can be used to directly compare measurements with different slit functions and wavelength alignment errors.  With scanning spectroradiometers in field use, any non-linearities in the wavelength drive can change with instrument wear.  Errors greater than 0.1 nm can occur on some instruments, but some misalignments are about 0.01 to 0.02 nm. Typical misalignments for routine monitoring with well calibrated instruments are about 0.05 nm [Seckmeyer, private communication].  Failure to account for these changes can lead to significant errors in the UVB range.  Methods to recognize and correct for these changes have recently been developed [Liley and McKenzie, 1997].

Another consideration for UV measurements is the effect of stray light.  It is often the case that stray light from wavelengths with relatively high radiation adds significantly to the signal being registered at nearby wavelengths that are several orders of magnitude less.   This is particularly important for wavelengths less than 305 nm, since the radiation at the ground increases by several orders of magnitude from 290 nm to 325 nm.  The main method to overcome this problem is to use double monochromators which typically have out-of band contributions of about 1 part in 106 to 108  compared to 1 part in 103 to 104 for a single monochromator.  The recent deployment of double monochromator Brewer instruments to reduce stray light problems has improved accuracy at short wavelengths compared to widely deployed single monochromator versions [Bais et al., 1996].  However, it is possible to partially correct data from single-monochromator instruments provided the details of the stray light spectrum are known.  Some of the data from single monochromators currently archived in the WOUDC (see section 9.1) have had a stray light correction applied. The use of band-pass filters with sharp wavelength cut offs can improve the performance of single monochromators.

The usual method for calibrating ultraviolet instruments is by using incandescent lamps with known spectral output.  Calibration of the lamp output is traceable to an agency that maintains standards, such as the US National Institute of Standards and Technology (NIST), the German Physikalisch Technische Bundesanstalt (PTB), and the British National Physical Laboratories (NPL).  By carefully regulating the current to the lamp and positioning the lamp at a specified distance from the instrument, the radiation as a function of wavelength falling on the diffuser is accurately known.  The signal from the detector is measured and the responsivity of the instrument is calculated.

One source of uncertainty concerns tracing the absolute calibration to a common standard.  Standard lamps used by national standards laboratories can disagree by more than ±2 percent in the UV-B region [Walker et al., 1991].   Also there is evidence indicating that individual lamps behave differently with regards to stability, both in the short term (calibration-to-calibration) and long term (drift over several years).  An alternative calibration approach, based on a variation of the Langley method, using  measured solar flux at the top of the atmosphere as an absolute flux reference, has been recently described [Wilson and Forgan, 1995; Schmidt et al., 1998].  This method has the potential to avoid problems of  lamp variabilities, although it cannot be used for wavelengths in the UV-B (<320 nm) at sites where diurnal variations of total ozone often occur [Kohler, 1986; Kerr and McElroy, 1993; Kerr, 1997] and at sites with changing aerosol conditions.

The first North American interagency intercomparison of ultraviolet monitoring spectroradiometers was held at Table Mountain outside of Boulder, Colorado during September 1994 with 4 agencies supplying instruments [Thompson et al.,1997].  Instruments were characterized for wavelength accuracy, repeatability, bandwidth, and stray-light rejection.  Subsequent UV instrument intercomparisons were held in 1995, 1996, and 1997.  Spectral scans of the solar flux were performed to obtain several days worth of data. A standard lamp calibrated by NIST was used to determine the spectral response of the various UV instruments with corrections for their different bandwidths.  Agreement between the instruments was found to be in the range of  ±5 %.

The USDA program has deployed 25 UV multi-filter shadowband radiometers (UV-MFRSR, 2 nm spectral resolution FWHM), calibrated by NIST-traceable standard lamps, across the United States to measure total and diffuse horizontal UV fluxes, and, by subtraction, direct UV. An investigation into the use of the Langley method, as an alternative to lamp calibrations, has been conducted at 2 sites (Table Mountain, Colorado and Mauna Loa, Hawaii) by the USDA UV-B Monitoring Program [Bigelow et al., 1998].  The detector's spectral response is multiplied  by the extraterrestrial solar flux to obtain the calibration factor at each channel [VanHoosier et al., 1988; Schmid and Wehrli 1995; Wilson and Forgan, 1995].  Preliminary results of the application of this method have been reported [Bigelow et al., 1998].

In practice, it is difficult to make an instrument with a true cosine response, since most diffuser materials depart from this ideal response.  Uncorrected deviation of the angular response from the ideal cosine function is a significant source of uncertainty in UV-spectroradiometry.  For most instruments, the deviation from true cosine response increases with increasing angle from normal incidence, and falls below the true cosine response function [Seckmeyer and Bernhard, 1993; Bernhard and Seckmeyer, 1997, their figure 1; Ireland and Sacher 1996.].  Thus, most instruments would tend to underestimate the UV flux incident on a horizontal surface.  The underestimate can cause errors in measurements of both the direct and diffuse components of the global UV flux.  This is important at higher SZA where the proportion of diffuse flux compared to the direct flux increases (see Figure 9.2-2), especially at shorter wavelengths.  Knowledge of the departure from a true cosine function is necessary for comparing measurements with models and intercomparing different instruments [Bigelow et al., 1998].

The ratio of diffuse to direct UV flux at the ground (3% reflectivity) for different SZA and wavelengths for an atmospheric ozone amount of 375 DU. (from the data used in Herman et al., 1996b)

New designs of entrance optics are now available that reduce the cosine response function error from more than 10% to less than 4%. [Bernhard and Seckmeyer, 1997].  Although cosine response function error correction algorithms can be used [WMO, 1994] for cloudless skies, with possibilities for corrections with cloudy conditions, the new designs are major improvement especially for measurements with broken clouds. In addition, versions of these instruments are becoming available with entrance optics designed to measure actinic fluxes rather than cosine weighted fluxes.  The departure from ideal cosine response is not as serious a problem for studying the dependencies of UV-B flux on atmospheric variables and for determining trends in UV provided the angular response remains stable over long periods of time.

9.2.4 Instrument Intercomparisons

There have been several spectral instrument intercomparison campaigns in Europe [e.g. Gardiner et al., 1993;  Seckmeyer et al., 1994b; Koskela, 1994; Kjeldstadt, 1998], North America [Thompson et al., 1997] and other locations [e.g. McKenzie et al., 1993].  The results of these intercomparisons indicate that there has been general improvement in the agreement of absolute UV-flux measurements between the various instruments and instrument types in recent years.  Some of the discrepancies observed between the different groups have been explained by differences in the calibration reference lamps.  When the various instruments are calibrated by a common reference lamp the agreement is now within 5% for many instruments.

Even comparisons between instruments of the same type pose problems related to calibration and maintenance [Vaughan et al., 1997].  The steep slopes of the solar Fraunhofer-line spectrum in the UV-B region (see section 9.3.1) pose specific instrumental problems that must be overcome to cope with the wide dynamic range, the need to reject stray light adequately, and the need to align the wavelengths accurately [McKenzie et al., 1992; Slaper et al., 1995].  Wavelength alignment is also important for instruments of moderate or low resolution because of  the strong wavelength dependence of the ozone absorption cross section (see Figure 9.2-1). The result is that small errors in wavelength alignment can complicate intercomparisons between instruments and calibrations against UV standards.

Erythemal proxy measurements by broadband instruments do not precisely match the standard erythemal response function [McKinlay and Diffey, 1987] used to estimate the probability of skin reddening from UV exposure.  There are also differences in the weighting functions produced by different manufacturers as well as differences in corrections  required for errors in the cosine response function.  Intercomparisons of broadband measurements with spectral data have revealed the importance of these differences in response function [Mayer and Seckmeyer 1996; Bodhaine et al., 1997].  The long-term viability of these instruments for trend detection remains in question however, due to possible steps in their sensitivity [Weatherhead, 1997; Leszczynski et al., 1997; 1998].  A better understanding of the causes of these steps is needed.

A recent international intercomparison of broadband UV monitors [Leszczynski  et al., 1997; 1998]  illustrates some of the difficulties in using these instruments, and the steps that need to be taken to compare their data.  Sixteen of the instruments involved in the intercomparison were BIOMETERS from Solar Light Co (SLC meters). The Figures 9.2-3a and 9.2-3b present theoretical correction factors needed to eliminate errors caused by non-ideal spectral responsivity (CIE action spectrum for erythema [McKinlay and Diffey 1987]) as a function of elevation angle for a typical SL 501 V.3 meter at total ozone content of 250 to 400 DU (Fig. 9.2-3a) and for group of meters with ozone content of 325 DU (Figure 9.2-3b).  Figure 9.2-3a shows that the conversion to erythemally-weighted UV has significant variability from instrument to instrument, due to slight differences in spectral response, even for the same manufacturer.

Figure 9.2-3b  shows the conversion factor depends on both the ozone amount and on solar zenith angle even when differences in cosine response between instruments are neglected.  A single example of an instrument manufactured by Yankee Environmental Systems (YES) was also included in the study. The correction factor for this  instrument was found to be significantly different from the SLC  meters, due to slight differences in its spectral response.  The study represents an important step in the international standardization of results from these instruments.

Theoretical correction factors for eliminating errors due to non-ideal spectral responsivity function (SRF) as a function of solar elevation angle for total ozone contents 250 to 400 DU for a typical example of the SL 501 V.3 radiometers. The correction factors have been normalized to unity at ozone content of 325 DU and solar elevation angle of 50°.	(From Leszczynski et al., 1997; 1998)

The range of the SRF correction factors for the SL 501 V.3 meters at 325 DU based on the STUK measurement data for 16 instruments. The SRF:s for the YES UVB-1 meter and the typical example of the SLC meters have been included for comparison.  The correction factors have been normalized to unity at solar elevation angle of 50°. 	(From Leszczynski  et al., 1997; 1998)

A long-term intercomparison between broadband and spectroradiometric measurements was carried out by Mayer and Seckmeyer [1996] to determine correction factors during different observing conditions including cloudy skies.  When the derived correction factors were used, good agreement was obtained after correcting for spectral mismatch and for cosine errors.

9.2.5 UV Trends from Ground-based Measurements

The observation period covered by well-calibrated multi-channel radiometers is now about 6 years for many instruments and longer for some (up to 9 years).  The 6-9 year period is still too short to reliably detect trends resulting from ozone changes. Even for clear sky data, a minimum period of about 11 years is desirable from the viewpoint of removing solar cycle and QBO (Quasi-Biennial Oscillation) effects [Herman and Larko, 1994; Stolarski et al., 1991].  At most locations, there is a stronger percentage interannual variation in UV flux from meteorological causes (clouds and haze) for both UVA and UVB than there is percentage variation in overhead column ozone content. Also, there is more variation in short-term  (days to weeks) ozone amounts than the decadal ozone decreases involved in the long-term UV-B increases.

The estimation of UV trends is complicated by the presence of UV variability induced by clouds and aerosols and inadequate stability in radiometric calibration.  Long-term stability of 1% to 2% per decade, needed to detect midlatitude trends, has yet to be demonstrated.  Use of shorter wavelengths (290 nm - 300 nm) to take advantage of the larger UV-flux increases caused by ozone decreases, reduces the stability requirements, but increases calibration and stray-light problems. Meteorological variability (and some instrumental calibration problems) can largely be removed by considering the ratio of fluxes  F at UVB to UVA wavelengths (e.g., F(305±2.5 nm) to F(340±2.5 nm) ) as long as there are no significant wavelength-dependent instrument changes during the measurement period [Frederick et al.,1993; Bais et al., 1997].  This is important since intercomparisons of UV instruments still show significant absolute calibration differences between the same and different types of multi-channel radiometers  [Vaughan et al., 1997]. The calibration differences make it difficult to combine absolute measurements within a latitude band from different parts of the world.  The combination of accurate measurements of UVA fluxes and UVB to UVA flux ratios can be used to monitor changes in UVB arising from changes in ozone.

For the estimation of UV-trends caused by ozone changes, a compromise must be struck between the sensitivity to ozone change (e.g., a 1 percent reduction in ozone causes an increase of 3% to 4% in UV at 300 nm, see Figure 9.2-4 ) and the ease of calibration and maintenance of the instrument.  Ratios of UVB to UVA channels selected so that stray light and low signal levels are not major problems, can determine ozone changes for correlation with observed UVB changes. Monitoring of absolute UVA fluxes permits the attenuation effects of clouds and aerosol haze to be determined.  Channels centered at 305 nm and 340 nm have the needed ozone sensitivity and suitability for observing cloud and haze effects.  Additional wavelength channels from well-maintained high-resolution spectroradiometers may be desired for reconstructing the UV spectrum at the ground and for checking internal consistency.

The changes in UV flux with changes in ozone amount are frequently referred to as the radiation amplification factor RAF.  For most conditions, the RAF can be estimated from "Ssec(2), where 2 < 50o is the solar zenith angle, or radiative transfer calculations for all 2.  Each pair of curves in Figure 9.2-4a shows a comparison between the RAF’s from a full radiative transfer calculation and from Equation 1. The upper panel consists of 3 pairs of plots for 3 different ozone amounts (275, 375, and 475 DU). The lower panel shows the absolute difference between each pair.  The good agreement of the full radiative transfer calculation with Equation 1 implies that the scattered flux component almost cancels when estimating the percentage change in UV flux for a percentage change in total ozone.

(1)

(2)

For larger 2 and high ozone amounts deviations from Equation 1 can occur from the Umkehr effect (Figure 9.2-5).  The Umkehr effect occurs when the direct solar UV radiation at high solar zenith angles (near the horizon) is absorbed by ozone along the large slant path to the observer’s site.  In this case, the global radiation (scattered plus direct) consists of mainly diffuse radiation that scatters high in the atmosphere in a cone above the observers site.  These scattered photons have a shorter optical path through the ozone than the photons in the direction of the direct beam, and therefore, a reduced RAF compared to the prediction of Equations 1 and 2.

a	The RAF as a function of ozone amount (275, 375, and 475 DU) and wavelength calculated from increases in UV radiation due to a 1% reduction in ozone from a radiative transfer calculation (3 curves) and Equation 1 (3 curves).  The lower panel shows the absolute difference between the closely matched pairs of curves.

Clear-sky results from an ultraviolet spectroradiometer installed at the high-altitude (3.4 km) Mauna Loa Observatory (MLO) in Hawaii [Bodhaine et al., 1996; 1997] have been used to calculate the wavelength-dependent RAF.   Figure 9.2-4b shows that the measured RAFs increase strongly towards shorter wavelengths and demonstrates that a 1% reduction in ozone causes a 7% increase in UV at 295 nm (SZA=45o S .265 DU) .  This increasing sensitivity of UV flux for a given solar zenith angle 2 to ozone amount S at shorter wavelengths is as predicted based on larger absorption coefficients ".   Using these numbers, the deduced RAF for erythema is slightly larger than predicted by model calculations, but in agreement within the experimental uncertainty.

Wavelength-dependent sensitivity to ozone change (RAF) at SZA 45E for 132 clear days during July 1995 to July 1996 at Mauna Loa Observatory.   (Based on [Bodhaine et al., 1997])

An extensive analysis of UV-B flux and its dependence on total ozone is reported by Fioletov et al. [1997].  About 300,000 spectra made by Brewer spectrophotometers at 7 stations (Toronto, Edmonton, Winnipeg, Sapporo, Tateno, Kagoshima and Naha) over the period between 1989 and 1995 were used to establish a statistical relationship.  Flux values at wavelengths between 300 nm and 325 nm were normalized to the value at 324 nm, where the effects of ozone absorption are nearly negligible.  The dependence of these normalized spectra on solar zenith angle, and the nearly simultaneous measurements of total ozone, was determined statistically for zenith angles between 27.5o and 87.5o.  The analysis provides an empirical wavelength-by-wavelength measure of the increase of UV-B flux for a 1% decrease of total ozone as shown in Figure 9.2-5a.  These values were found to be essentially the same for clear and cloudy condidtions (except for very heavy clouds) and are in good agreement with model results as shown in Figure 9.2-5b for longer wavelengths and moderate SZA.

Percent increase in UV flux resulting from a 1% decrease in total ozone ( 3 DU at 300 DU) as a function of wavelength at different solar zenith angles.  Features in the spectra follow the ozone absorption spectrum which is shown by the continuous solid line. [Fioletov et al., 1997].

A comparison of the measured (Brewer - symbols) RAF and the calculated RAF (solid lines), for ozone amounts = 300±3 DU, showing the onset of the Umkehr effect at high solar zenith angles.  (Data from Fioletov et al., 1997). Note the pronounced Umkehr effect for the curve labeled 72.5o.

Measurement errors increase at shorter wavelengths when 1. the detection threshold is approached, 2. scattered light problems become important, and 3. as wavelength errors become more critical (see the measurement deviations from expected values shown in Figure 9.2-5b).  For instruments that overcome these difficulties, trends from ozone depletions of 2% or 3% percent per decade should be detectable at a wavelength of 295 nm.  At higher SZA (greater than 50o) the Umkehr effect reduces the RAF particularly for shorter wavelengths (Figure 9.2-5a and 9.2-5b) [Fioletov et al., 1997].

If long-term (> 10 years) ground-based measurements of UVB are to be capable of detecting changes caused by globally decreasing ozone amounts or from its predicted future recovery, then both the radiometric and wavelength calibration must be made and maintained at high accuracy.  High resolution instruments (0.5 nm to 1 nm) must have accurate and very stable wavelength calibrations to avoid uncertainties with respect to their positions within the solar Fraunhofer line structure (see Figure 9.2-1).  Broadband UVB instruments that do not resolve the solar Fraunhofer lines must have the instrument wavelength dependent response function determined and maintained with high accuracy (about 0.01 nm accuracy at 305±2.5 nm, since a wavelength error of 0.1 nm can cause a 3% error).  For erythemally-weighted UV, a wavelength error of 0.1 nm results in an error of approximately 2%. In addition to problems arising from solar line structure, the ozone absorption cross section is a rapidly decreasing function of wavelength in the UVB range. Because of this, even a small drift in wavelength can mask the changes in UV-flux caused by decreasing ozone amounts.

Based on the 1979 - 1994 TOMS satellite data record, ozone changes are statistically significant at latitudes larger than 35oN or 35oS [McPeters et al., 1996], and should be observable by a distributed network of ground-based UV instruments of sufficiently long record.  For example, at latitudes between 30o and  40o the zonal average ozone change is about 2% to 3%  per decade and produces a corresponding 2% to 3%  per decade change in UV flux at 310±0.5 nm or in the erythemal flux range (spectrally weighted between 290 nm to 400 nm). Larger percentage changes occur at shorter wavelengths (about 6% to 9% at 300 nm) where more instrumental care is needed (e.g., from internally scattered light).

Ozone changes can be substantial at higher latitudes over periods of a few days to a few weeks, with longer period changes correlated with the QBO ( -2.3 years) and solar cycle (-11 years) [Stolarski et al., 1991; 1992; Herman et al., 1991; 1995]. The inverse signal should be evident in the UV-B wavelengths [Kerr and McElroy, 1993; Balachandran and Rind, 1995; Rind and Balachandran, 1995].  To unambiguously remove the effects of solar-cycle induced changes requires that measurements be made over a period of at least 11 years.  Thus, it is important to maintain careful calibration of UV instruments over decadal time scales if trends in UV are to be discerned from natural variability (Figure 9.2-6 and Figure 9.2-7).  Although measurements from polluted sites will be of interest to epidemiologists and for process studies, instruments designed to monitor trends due to ozone depletion should generally be located at remote sites where tropospheric changes from local pollution effects are minimized. These cleaner locations may have to be selected mostly in the southern hemisphere to avoid the widespread distribution of aerosols from industrial pollution in the northern hemisphere.  Northern hemisphere locations will have to be at carefully selected remote sites to avoid aerosol contamination of the data.  The use of clean sites is especially important if the ozone recovery from reduced input of chlorine into the stratosphere is to be detected by ground-based instruments.  However, from the viewpoint of human health, both polluted and unpolluted sites must be monitored.

Local UV-changes due to clouds, aerosols, and ozone estimated from ground-based measurements from Toronto Brewer data.  Points are daily averages from ± 1 hour of noon. (From Kerr, WOUDC database, see section 9.1)

The Toronto study by Kerr and McElroy [1993; 1995], reported in the last assessment, was the first to show the effects of ozone depletions on integrated daily UV-B at midlatitudes, including cloudy conditions. The upward trends in UV which were reported for Toronto over the 4-year period to August 1993 have not continued at the same rate [Environment Canada, 1997], and much of the change is now attributed to the anomalously low ozone during the 1992-1993 period following the eruption of Mt. Pinatubo.  By 1994, ozone and UV-B measurements had reverted to levels similar to those seen prior to 1992 (unpublished data from WOUDC, see Figure 9.2-7), showing that the UV increases in 1992-1993 are better described as a perturbation, rather than a trend.  The anticorrelation of ozone and UV-B radiation during this short-term perturbation quantitatively illustrate the link between ozone depletion and increases in UV-B radiation.

Trends estimated from the daily averages of global fluxes from the WOUDC database for the summer months (May to August in Toronto) from 1989 to 1997 are 15.4% per decade for 300 nm and 0% per decade at 324 nm (negligible ozone absorption).  This corresponds to the summer average ozone amount declining by 4.3% per decade consistent with the results discussed in Chapter 1.

Interannual variability estimated using daily noon values of 305 nm and 324.5 nm fluxes from Toronto Brewer data.

The increasing frequency of extreme events may be another indicator of long-term change. Very low ozone has been reported over Canada (Spring 1997) associated with extremely low temperatures and ice-crystal formation in the troposphere and lower stratosphere.. Other enhancements in UV which have been measured in response to short term ozone anomalies have been reported recently in Europe [Seckmeyer et al., 1997], Canada, and Hawaii [Hofmann et al., 1996].

Because of the difficulty of detecting small systematic long-term changes hidden in the large dynamic range of daily and seasonal changes (see Figures 9.2-6 and 9.2-7), the long-term stability (10 years or more) of ground-based UV-B instrumentation must be improved.  Unlike the satellite measurements that can remove much of the local variability by geographic averaging, the ground-based measurements must also deal with local meteorological effects (clouds and haze) that show systematic multi-year changes.  Systematic differences and variable calibration drifts between different instruments in a network may partly negate the benefits of ground-based geographical averaging. The calculated UV flux results from satellite observations of ozone, cloud, and aerosol amounts over the entire globe should be used to check consistency with the conclusions drawn from local ground-based studies.

9.3  SATELLITE ESTIMATIONS OF UV

Satellite estimates of UV flux at the Earth’s surface can give regional and global views of its variation and long-term trends.  The UV flux estimates are based on derived values of ozone amounts, cloud transmissivity, aerosol amounts,  ground reflectivity, and extraterrestrial solar flux from measured backscattered radiances.   Most of the derived TOMS satellite UV-flux estimates (1979 - 1992) were obtained from a single well calibrated instrument with zonal averaging used to eliminate a large amount of local variability.  Both of these attributes makes the problem of UV-trend estimation deduced from satellite data easier than for ground-based instruments.  Current TOMS data (August 1996 to the present) can be used to extend the data record.

Satellite estimations of UV flux at the surface require the use of independently measured extraterrestrial solar fluxes over the 290 nm to 400 nm range. These values are also useful for comparison with derived extraterrestrial solar fluxes from ground-based instruments.  Under clear sky conditions, the comparison can be used as a validation for ground-based spectroradiometer data.

9.3.1 Extraterrestrial UV Flux

The two UARS UV solar spectrometers ,SOLSTICE [Rottman et al., 1993] and the Solar Ultraviolet Spectral Irradiance Monitor (SUSIM), [Brueckner et al., 1993], have made daily flux measurements since October 1991. This period includes most of the decrease from solar maximum to solar minimum.  Daily UV solar spectral fluxes measurements were also made by the Solar Backscatter Ultraviolet/model 2 (SBUV/2) instrument onboard the NOAA-11 satellite between February 1989 and October 1994 [DeLand and Cebula, 1997]. These three independent instruments have shown that the natural variability of the solar flux (11-year and 27-day ) is less than 1% in the UVA-UVB region (290 nm - 400 nm).

The absolute accuracy of these measurements is maintained through internal calibrations and data set intercomparisons (between SOLSTICE, SUSIM,  and SBUV/2 instruments).  Cebula et al.[1994; 1996] estimated the agreement between the UARS SUSIM and SOLSTICE to be ±5% absolute. The measurements made by the two UARS instruments were compared with the same-day measurements by three other solar instruments (the Solar Spectrum (SOLSPEC), the Shuttle Solar Backscatter Ultraviolet (SSBUV) and the Shuttle SUSIM instruments) during the ATLAS-1 and ATLAS-2 Space Shuttle missions in March 1992 and April 1993, respectively [Cebula et al., 1996; Woods et al., 1996], and ATLAS-3 in November 1994. In the 290 nm - 400  nm region, at 5nm spectral resolution, the difference between the various data sets is less than ±3% and is wavelength dependent.  Cebula et al. [1996] noted that at 1 nm resolution, small errors in wavelength registration can lead to larger differences between instruments near the vicinity of strong solar absorption features. This problem is exacerbated at higher spectral resolutions.

The ATLAS-3 SUSIM data have been published on the internet. A general error analysis for these data is not currently available, but for the previously measured spectrum (ATLAS-2 SUSIM), the accuracy was specified to be 4% - 8% [Woods et al., 1996].  An example of the SOLSTICE and ATLAS-3 SUSIM data are shown in Figure 9.3-1 where the higher resolution SUSIM data agrees well with the SOLSTICE data.  For the examples shown in Figure 9.3-1 the agreement is about 2% when the SUSIM data are degraded to SOLSTICE resolution. Use of the SUSIM data can help with analyzing wavelength registration problems in ground-based spectroradiometers.

(November 1994 - Shuttle Atlas 3) and SOLSTICE (March 1992 - UARS) solar spectra ( 290 nm to 400 nm) plus the calculated UV flux at the ground for overhead sun with clear sky and 300 DU of ozone.

9.3.2 UV Flux at the Earth’s surface

As mentioned earlier, UV fluxes at the Earth’s surface can be estimated by combining satellite measurements of ozone amounts, cloud, aerosol, ground reflectivity, and the extraterrestrial solar flux spectrum using a Mie and Rayleigh scattering radiative transfer equation [Green, 1983; Grant et al., 1996; Herman et al., 1996b; Krotkov et al., 1998].  By using spatial averaging to minimize local variability of cloudiness, satellite determination of UV fluxes at the Earth’s surface is well suited for detecting changes caused by variations in the amount of atmospheric ozone. The major advantages of satellite data are the use of a single instrument that is calibrated while in flight over long periods of time, nearly complete global coverage, and uniform spectral accuracy. The accuracy of the estimated UV flux depends on knowledge of the ozone absorption coefficients, errors in the measured extraterrestrial solar flux, the relationship of average cloud and non-absorbing aerosol transmissivity over the satellite footprint to the measured reflectivity, and the knowledge of possible absorbing aerosols (e.g., smoke or dust) in the satellite’s field of view.  The disadvantages are the coarse spatial resolution, a single measurement per day, the inability to independently separate low altitude (below 2 km) absorbing aerosols from sub-pixel clouds or non-absorbing aerosols, and the inability to accurately compare to daily ground-based measurements under broken cloud conditions. Except for the low-altitude absorbing aerosol discrimination problem, the above disadvantages can be mostly overcome by considering weekly, or longer, averages for comparison with ground-based data obtained within ±1 hour of the satellite overpass time.

Figures 9.3-2 (a,b,c, and d) shows the seasonal and geographic variability of the erythemally weighted monthly exposure estimated from TOMS data for 1992.  The exposure is obtained from integrals of the hourly flux for each month based on a single daily near-noon measurement of backscattered radiances at 6 wavelengths.  The estimation includes the effects of ozone absorption, cloud transmissivity, and surface albedo determined from TOMS data on a 1o by 1o grid [Herman et al., 1996b; Krotkov et al., 1998; Herman and Celarier, 1997; McPeters et al., 1996], but does not include the decreases in UV flux caused by absorbing aerosols.  As expected, the highest values of exposure are near the seasonal sub-solar points between ± 23o  latitude, in regions of elevated altitude (e.g., Andes Mountains), and in regions that are relatively free of clouds for the given month (e.g. South Africa and Australia in January and in large regions over the oceans). In July, during the northern hemisphere summer, very high exposures are estimated over the Sahara, Saudi Arabia, southwestern U.S., and the Himalayan mountain regions in northern India and southern China.  The equinox at March produces high exposure values throughout equatorial Africa, the southern part of the Arabian Peninsula, southern India, Malaysia, and Indonesia. Even though the solar zenith angles in September are nearly the same as in March, the increased number of cloudy days produces lower exposures during September.

Color plates (a,b,c,d) of global maps of the monthly erythemal exposure for January, March, July, and September including the effect of clouds.   (Based on the data from Herman et al., 1996b)

A measurement-modeling comparison between TOMS measured ozone and reflectivity as inputs into a radiative transfer calculation [Dave, 1964; Eck et al., 1995] and the Toronto Brewer instrument [Kerr and McElroy, 1993] showed very good agreement over a wide range of seasonal and cloud conditions. Recent studies using a larger sample of data show a seasonal difference with the largest differences occurring in the winter months [Labow and Fioletev, private communication; Labow et al., 1998].  A new UV-CD-ROM for erythemal exposure is available from NASA/GSFC based on the TOMS ozone and 380 nm reflectivity data for Nimbus/TOMS (1979 to May 1993) and on 360 nm reflectivity for Earth-Probe/TOMS (since August 1996).

It should be emphasized that satellite borne sensors do not directly measure surface UV fluxes or any other atmospheric characteristic.  The major uncertainties in satellite UV flux estimation are due to possible undetected variability in small-scale boundary layer extinctions from aerosols, tropospheric ozone, and clouds. This also can be a useful feature, compared to the localized measurements of ground-based instruments, since the satellite borne measurement estimate the average flux striking the geographic area covered by the instrument’s field of view (25 to 100 km for Earth-Probe/TOMS, 50 to 200 km for Nimbus-7/TOMS), including the average transmissivity of the clouds and aerosols from measurements of their backscattered radiances.

The spatial resolution of the current UV satellite instruments does not resolve the effects of broken clouds or small-scale cloud structure.  A simple example is when the direct sun is observed through broken clouds from the ground.  Even for rather large fractional cloud cover, it has been shown that if the sun is not obscured, the UV flux measured at the surface remains close to the clear-sky value [e.g. Blumthaler et al., 1994a], or can exceed it for some cloud conditions.  This means that daily comparisons of satellite data with ground-based measurements may disagree substantially even though weekly or monthly averages may agree quite well [Eck et al., 1995; Labow et al., 1998].

Higher spatial resolution, of about 1 km in near-UV (412 nm), observations have been made by the SEAWIFS satellite instrument. These observations may be of use for estimating the effects of broken clouds on the larger pixels used by TOMS (25 x 25 km to 100 x 150 km).  Finally, the frequency of satellite overpasses is such that diurnal variation arising from cloud or aerosol effects are not realistic (see discussion in section 9.6-3).  Well-maintained, strategically-located ground-based  measurements, particularly UVA instruments, are needed verify the applicability of satellite-derived estimations of surface UV radiation.

Of the major factors affecting surface UV, only ozone has a known widespread long-term change (decrease), and only for latitudes between 30o and the poles.  For major sources of UV-absorbing aerosols (dust and smoke) only the biomass burning smoke over South America shows a systematic increase since 1979 [Herman et al., 1997].  Analysis of zonal-average cloud cover based on the 1979 - 1993 TOMS reflectivity data indicates that the global amount of cloud plus non-absorbing aerosol has not changed significantly [Herman et al., 1996b].  However, regional changes in cloud or aerosol cover may have changed UV doses at ground level [Liepert et.al. 1994; Seckmeyer et.al. 1994].  In local regions there are many documented cases of increased atmospheric pollutants from anthropogenic activities (e.g., Beijing, central Europe, Los Angeles, Mexico City, and the Four Corners region, intersection of Nevada, Arizona, New Mexico, and Colorado, in the US) where removing the pollution for health reasons will have the effect of increasing UV radiation at the ground closer to pre-industrial levels for the region.   In addition to pollution, long-term increases of cloudiness may have significantly decreased UV irradiation in Central Europe since the 1950's, and may be partly masking an upward trend of UV levels caused by ozone depletion [Seckmeyer et.al. 1994; Nezval et al., 1996; Zerefos et al., 1997].   Observations by Feister and Grewe [1995] showed UV enhancements arising from decreases in the ozone amount and changes in the average amount of cloudiness over middle Europe (52oN) for the years 1992 and 1993.

Using TOMS estimations of aerosol amount [Herman et al., 1997; Torres et al., 1998; Krotkov et al., 1998], the aerosol attenuation of UV flux can be calculated for the entire globe.  The sample UV flux attenuation map shown in Figure 9.3-3 is derived assuming that the height of the aerosol layer is known.  In this case, the altitude was assumed to be uniform at 2.9 km. Comparisons of derived optical depths with sun photometer optical depths [Torres et al., 1998; Hsu and Herman, 1998] show that 2.9 km is a good average first order approximation. Using a constant altitude neglects some seasonal changes such as the increase in height over the Sahara during the summer months. TOMS is unable to distinguish absorbing aerosols from sub-pixel clouds or non-absorbing aerosols when their optical depths are less than 0.1 or if they are below about 2 km in altitude. This means that it is unlikely that TOMS, by itself, will be able to detect weakly absorbing aerosols near the surface, often found in urban atmospheres.

The map in Figure 9.3-3 shows that aerosol absorption can produce very large reductions in UV flux (~50%) in  certain parts of the world. One sees the effects of smoke from a West-coast Canadian forest fire that is moving in the south-westerly direction, biomass burning in S. America and Africa, and desert dust blowing both east and west from the Saharan region of Africa. These estimates are consistent with ground-based sun-photometer observations [Torres, et al., 1998] showing agreement in optical depths that are equivalent to observing a 50% or more reduction in surface UV radiation due to smoke from widespread biomass burning in the Brazilian rain forest. The data shown in the map has been truncated so as not to show lower levels of absorbing aerosol (optical depth less than 0.4) that appear to be more widely distributed away from the sources of biomass burning and dust.  If validated, these lower optical depth plumes result in a 5% to 10% reduction in UV radiation.  The recent Indonesian fires had dense smoke plumes that were observed by TOMS, AVHRR, GOME and SEAWIFS satellite instruments.  Based on the TOMS observations, optical depths greater than 5 occurred that resulted in estimated reductions in UV flux of 99%.

Map of UV extinction showing the effect of Saharan desert dust and biomass burning in South America, southern Africa, and California.  (Krotkov et al., 1998)

The satellite determinations of zonally-averaged decadal global UV-exposure changes are summarized in Figure 9.3-4 as a function of latitude  [Herman et al., 1996b].  These results show that there have been no statistically significant changes for latitudes equatorward of 35o, but that there have been substantial increases in UV-fluxes between 40o and 65o for any of the standard action spectra [Madronich and Gruijl, 1994; Herman et al., 1996b; Weatherhead et al., 1997].  In the northern hemisphere these UV-flux increases have occurred over the densely-populated regions of Europe, Canada, and Russia, while in the Southern Hemisphere the largest increases are over the southern portions of Argentina and Chile.  The large statistical uncertainty bars in the calculated linear fits to the UV-exposure changes are mostly caused by the substantial interannual variability in ozone amount at all latitudes, and to a much smaller extent by the variability of zonally averaged cloudiness.

The percentage change per decade in action spectra weighted annual UV exposure as a function of latitude estimated from TOMS data (1979-1992) including cloud effects.  The error bars indicate 2F uncertainty from combined instrument error and variability in the UV flux data. [Herman et al., 1996b]

Similar analyses of zonally averaged UV exposures for each month (1979 to 1992) shows that the largest increases of UV have occurred at higher latitudes in the spring months corresponding to the largest decreases in stratospheric ozone (see Figure 9.3-5).  The erythemal UV flux changes shown in Figure 9.3-5 are statistically different from zero at about the 2% per decade contour line and larger.  The computed UV-flux changes do not include the effects of the recently observed low ozone amounts at high latitudes in the Northern Hemisphere.

UV erythemal exposure change per decade as a function of latitude and month estimated from TOMS satellite data from 1979 to 1992. [Herman et al., 1996b]

Long-term global changes in UV fluxes are not known prior to the start of the TOMS satellite data in 1979.  However, there is a good record of ozone measurements prior to 1979 from the Dobson network [Bojkov and  Fioletov, 1995] that could be used to estimate clear-sky UV fluxes.  Another approach to estimating past UV fluxes is to use historical data and current data from ground-based pyranometers as first attempted by Ito et al., [1994].  Correlation of current pyranometer data with co-located spectroradiometer data, or with TOMS satellite estimates of UV fluxes, would be needed to establish the relationship of pyranometer data with surface UV.  Such an approach requires a knowledge of the relationship between cloud effects in the UV compared with those on the pyranometer measurements [Bodeker and McKenzie, 1996].

9.4  MEASURED UV VARIABILITIES NOT RELATED TO OZONE TRENDS

The sources of UV flux variability include clouds, aerosols, and short-term changes in ozone amount [Balachandran and Rind, 1995; Bernhard et al., 1996; Blumthaler et al., 1994a; Bordewijk et al., 1995; Frederick and Steele, 1995; Kerr 1997a; 1997b].  Examples of the large variability in day to day changes and year to year changes are given by Zerefos et al. [1995a, 1995b, 1997] for UV levels observed over central Europe. Here the erythemally-weighted daily dose rate varies by a factor of 5 during the month of maximum exposure and the annual dose varies by about 20% for the 3 years shown (1994 to 1996).  Zerefos states that the variability of ozone and SO2 can account for 50% and 26%, respectively, of the erythemal flux changes over Greece.  Ryan et al. [1996] examine erythemally effective UV fluxes for the period 1988 to 1995 at a few locations in New Zealand.  After sorting the data for 2 groups of solar zenith angles (near 30o and 45o) they found that there was no statistically significant monotonic trends in the data even though there was clear interannual variability. They also found that UV-B levels over urban Christchurch were about 20% less than in other cities, which they state may have been due to higher atmospheric turbidity at this site.

9.4.1 Ozone Variability

At all latitudes, except near Antarctica, day to day  fluctuations in stratospheric ozone, tropospheric ozone, and interannual ozone variability cause larger short-term UVB changes than the small, but important, long-term ozone decline. Even at lower latitudes (30o), short-term ozone changes are observed to cause easily detectable UV-B changes.  For example, during years when strong incursions of ozone-poor tropical air flow into temperate latitudes during spring and summer, UVB at the surface can become significantly higher than normal [Mims et al.,1995]. Much less stringent UV-instrument calibration and maintenance problems are needed to detect the variability of UVB and UVA fluxes caused by clouds, aerosols, and short-term ozone changes.

Clear-sky results (Figure 9.4-1) from an ultraviolet spectroradiometer installed at the high-altitude (3.4 km) Mauna Loa Observatory (MLO) in Hawaii  have demonstrated strong anticorrelations between ozone and erythemally weighted UV over a full year of measurements [Bodhaine et al, 1996; 1997].    Similar correlations were made during the record low ozone amounts over MLO during the winter of 1994-1995 [Hofmann et al, 1996].

Erythemal radiation at SZA 45E compared with total ozone for 132 clear days during July 1995 to July 1996 at Mauna Loa Observatory.

9.4.2 Clouds

Clouds (and nonabsorbing aerosols) reduce the UV at the ground by Mie backscattering at all wavelengths. Plane-parallel modeling of cloud transmittance show they are not spectrally neutral [Krotkov et al., 1998; Seckmeyer et al., 1996; Kylling et al., 1997; Celarier et al., 1998; Frederick and Erlick, 1997] even when the wavelength dependence of the scattering is ignored. When the models assume cloud characteristics, that do not vary with wavelength, embedded in a Rayleigh atmosphere over a spectrally grey surface, the calculated wavelength dependence for cloud transmission to the surface is due to the interactions with Rayleigh scattering.  An example of the spectral variation of cloud transmittance was observed by Seckmeyer et al. [1996] and analyzed by Kylling et al. [1997].  For this specific cloud, the transmittance (as a fraction of clear-sky transmittance) was about 45% in the UVA and 60% in the UVB.

Lubin and Jensen [1995] have studied the effects of clouds on detecting local trends of UVB-flux.  They based their study on ozone data obtained from TOMS and cloud cover estimates from co-located ERBE (Earth Science Radiation Budget Experiment) data.  Lubin and Jensen examined how the established ozone-amount trends compare with the cloud-induced variability in UV-fluxes, and found that throughout many temperate regions (large parts of continental Europe, North and South America, New Zealand, Australia, and southern Africa) the interannual variability in cloud opacity is sufficiently small that by the end of the century biologically significant trends in UVB should be observable from ground-based instruments even with the cloud induced variability.

Nezval et al. [1996] show local changes in UV-A from multi-year (since 1968) surface UV flux (300nm - 380nm) broadband measurements (every 5 minutes) at the Meteorological Observatory of Moscow University (at an elevated relatively clear site) complemented by simultaneous hourly visual observations of clouds (cloud types, layers, fraction). Using this unique data set, Nezval [1995; 1996] shows that the average UV flux for the period 1968-1992 has decreased at Moscow by 15% - 20% (with some seasonal dependence) at the same time the average cloud fraction has increased significantly (for lower layer clouds by 27% and for all cloud layers by 14%).

Figure 9.4-2 shows the variations in the spectral dependence of CF (the ratio of cloudy sky flux to clear sky flux from day 213) that can occur on different days as conditions change.  The clear-sky fluxes were measured on day 213 (S=308, RTOMS=6%).  Data points are from measurements made at Barrow, Alaska, July-August, 1991(squares) were obtained from the Biospherical Instuments Inc. spectroradiometric  measurements, and the curves were calculated using the DISORT program..  Ozone values S and scene reflectivities (RTOMS) were determined from overpass data measured by Nimbus-7/TOMS.  On the lightly clouded day 212, CF shows almost no longer-wavelength spectral dependence, remaining within 2F of 1 for 8>325. The decrease of CF for the shorter wavelengths on day 212 (July 31, 1991) is due to the greater column ozone (S = 322 DU) compared to day 213 (S = 308 DU).  On the moderately-clouded day 215 the spectral influence of the clouds and that of the difference in total ozone (S=321) combine to give the short-wavelength roll-off, while the long-wavelength behavior is due to the influence of the clouds alone. On heavily clouded day 216, the spectral variation of CF was the greatest (> 25%) even though the ozone amount is nearly the same as the reference case (day 213).  The day 216 scene reflectivity at 380 nm, measured by the Nimbus-7/TOMS (Total Ozone Mapping Spectrometer), was 77%, typical of  a thick cloud cover.

Wavelength dependence of grey-cloud transmittance in a Rayleigh scattering atmosphere.  CF(8) from measurements made by the Biospherical Instruments, Inc. spectroradiometer at Barrow, Alaska, July-August, 1991 (points).   The curves are from DISORT radiative transfer calculations. CF = ratio of cloudy-sky flux to clear-sky flux (day 213).	(From [Celarier et al, 1998])

Measurements at Rayleigh, North Carolina [Estupinan et al., 1996] show the expected UV attenuation for clouds (up to 99%) and haze (5% to 23%). However, for broken convective-type cumulus clouds, increases of up to 27% have been observed [see also Nack and Green, 1974;  Seckmeyer et.al., 1997; Frederick and Steele, 1995].  Additional measurements of UVB under partially cloudy conditions using a Brewer spectrometer in North Carolina show increases over clear-sky values of as much as 11% [Schafer et al., 1996].  According to Estupinan et al. [1996], broken cloud fields of types with inadequate vertical extent show no excess of UV flux over clear-sky values.  Additional validation studies at different locations are needed to further quantify the enhancements found in these studies. Analyses of cloud-enhanced UV fluxes indicates that the probability of enhancement is low even though it has been reported many times [Seckmeyer et.al. 1997].  Seckmeyer’s analysis further shows that the probability distributions are dependent on solar zenith angle.

Analysis of data from the Canadian Brewer network indicate that the effects of thin clouds are nearly the same for wavelengths between 290 and 325 nm [Fioletov et al., 1997; Environment Canada, 1997].  The effect of cloud cover on reducing global flux has little dependence on zenith angle.  However, large convective clouds that reduce flux values to less than10% of clear sky values show enhanced ozone absorption effects that are likely caused by increased multiple scattering within the cloud. .

9.4.3 Altitude

As has been shown from numerous radiative transfer studies, UV fluxes change with altitude because of changes in scattering and absorption. The altitude dependence varies with both solar zenith angle and wavelength. Therefore, it is not possible to describe the change with altitude by a single number in percent per km [Duguay 1995; Seckmeyer et al., 1997; Krotkov et al; 1998]. For example, Seckmeyer et.al. found that the monthly erythemally weighted irradiation is between 25 and 90% higher on the Zugspitze (3 km altitude) than at the lower site in Garmisch-Partenkirchen (0.73 km) within a 5 month period. The variability in the differences indicate that they are caused by a combination of several factors including Rayleigh scattering, cloud effects, air pollutants (e.g. tropospheric ozone), aerosols and surface albedo. These results show that data from a single site are not sufficient to determine the altitude effect for UV flux at sites other than the measurement site.

Regional differences in the altitude dependence of UV flux have also been reported by Blumthaler et al., [1997] based on measurements made at Jungfraujoch, Switzerland (3576 meters altitude) and Innsbruck, Austria (577 meters altitude) where daily clear-sky erythemal doses have been compared.  They found an increase of 8% per km for total flux, 9% for UVA, 18% for erythemal effective flux during the summer.  They also found that the altitude dependence of the direct radiance is considerably larger than that of the global radiance at all wavelengths.

A study of the altitude-dependence of UV in clean dry air in South America showed much smaller altitude gradients than in Europe (see above) and in more polluted regions of the continent than reported in the last assessment.  The gradients which were determined for global fluxes, as well as the direct and diffuse components separately, depended on wavelength and on the solar zenith angle [Piazena, 1996].  As expected, global and direct fluxes increased with altitude, whereas the diffuse component decreased.  In the UVB range, global fluxes generally increased by 8% - 10% per km for SZA > 70o , which is still somewhat larger increase than predicted for clear air.

High altitude results (3.4 km) from an ultraviolet spectroradiometer installed at Mauna Loa Observatory (MLO) in Hawaii have been reported by Bodhaine et al. [1996; 1997].  For observations at 45ESZA, the erythemally weighted UV at MLO can exceed 0.21 W m-2, which is approximately 15% - 20% greater than that seen at clean-air sites near sea level (e.g., Lauder, New Zealand) for similar ozone amounts.  For overhead sun conditions at MLO, the largest value of erythemal UV flux was 0.51 W m-2.  For now, this is probably the highest recorded value anywhere on the Earth's surface.

9.4.4 Aerosols

Atmospheric aerosols affect the amount of global flux received at the Earth’s surface by scattering and absorption.  In a study by Kerr [1997], data from clear days over a three year period (1989-1991) at Toronto were used to quantify the effect of aerosols on UV-B flux values.  Results of the analysis show that aerosols reduce the global flux by about 20-30% of the reduction of the direct flux. That is, if aerosols were to reduce the direct flux by 10%, the global flux would be reduced by 2-3%.  The reduction has little wavelength dependence and is in reasonable agreement with radiative transfer models results for aerosols which are nearly non-absorbing (single scattering albedo of ~ 0.95, [Krotkov et al., 1998]).  The residual variability after considering the effects of ozone absorption and aerosol scattering was between 2% and 5% over the three year period.  As mentioned earlier, the largest aerosol reductions in UV flux are associated with the major sources of dust and smoke in Africa and South America.

9.4.5 Surface Albedo Variations (Snow)

For most conditions at non-polar latitudes, the surface reflectivity in the UV wavelengths is nearly constant and quite small (less than 10%) for ground without snow or for water [Herman and Celarier, 1997].  The occurrence of snow on the ground is the main factor that affects surface albedo in the UV.  Results of a study reported in Environment Canada [1997] summarize the effects of snow on UV flux at seven sites in Canada.  The UV flux at 324 nm was used as an indicator, since ozone has negligible absorption at this wavelength.  The variation due to zenith angle was removed by normalizing the observed flux at 324 nm to that expected under a clear sky at the same zenith angle. A comparison of observations taken with snow on the ground and those taken without show an enhancement in the normalized 324 nm flux ranging from 8% (Halifax) to 39% (Churchill).  When there was no snow on the ground, the normalized 324 nm flux was nearly constant for all 7 stations.  Snow has significantly different enhancements at different stations likely because of terrain differences.  For example, the enhancements in the Arctic (Resolute 35% and Churchill 39%) with flat and “white” terrain are larger than those seen at urban sites (Toronto, 12% and Halifax, 8%).

Even if the snow/ice surface reflectance does not depend on wavelength, the reflectance-amplification of UV flux is not neutral, but has a strong maximum around 320nm of nearly 50 % for a surface reflectance of 0.8 [Lenoble, private communication;  Krotkov et al., 1998; Chubarova, 1993] (see Figure 9.4-3). This maximum occurs for both clear-sky and cloudy-sky cases.  However, for cloudy skies the slope from 320 nm to 400 nm is very small compared to the clear sky case, because of the nearly wavelength independent reflection from the clouds. The increasing effect of changes in surface reflectivity with wavelength (from 400 nm to 320 nm) is caused by increased atmospheric Rayleigh scattering back to the surface at shorter wavelengths. The small structure seen starting at about 330 nm is caused by ozone absorption. For wavelengths shorter than 320 nm the increasing ozone absorption dominates the increasing Rayleigh scattering, or the cloud reflection, and results in a smaller UV-flux increase relative to 320 nm.  The formal solution for the results presented in Figure 9.4-3 is (in percent)

dF/F = 100 Sb / [1 - RS Sb] dRS	(3)

where 		Sb is the wavelength dependent fraction of radiation backscattered from the atmosphere back to the surface.  Sb(320 nm) $0.6 for clouds and 0.4 for clear sky.

RS is the surface reflectivity.  RS = 0.05 for ground and 0.8 for fresh snow.

Reflectance amplification of UV fluxes as a function of wavelengths for ground reflectance RS = 0.05 and fresh-snow/ice conditions, RS = 0.80 for clear and cloudy (Jcloud = 20) skies with column ozone amount S = 325 DU and dRS =0.01.

Figure 9.4-3 shows the effect on modeled UV fluxes of an uncertainty in knowledge of the surface reflectivity.  For clear skies the errors in the fluxes are roughly 0.5% for each percent uncertainty in the surface reflectivity.  The presence of significant cloud cover, and particularly cloud cover over snow, can lead to large uncertainties in  estimated UV fluxes from model calculations.  These errors affect the estimate of UV fluxes from satellite data and affect the derivation of atmospheric parameters (e.g., ozone and aerosol amounts) from ground based measurements.

Away from snow and ice, the reflection problems are minimized because of the low values of reflectivity in the UV of 4% to 8% [Eck et al., 1987; Herman and Celarier, 1997] over both land and water.  Even lower values of about 1% in the UVB, 2% at 400 nm, and 4.5% at 450 nm  have been measured over long grass in New Zealand [McKenzie et al., 1996]. There the albedos tend to increase at large solar zenith angles implying that the surface is not strictly Lambertian. Because of the low reflectivities and large amount of scattering in the boundary layer, moderate percentage errors in assumed surface reflectivity have little effect on the UV-flux.  There are also problems realistically representing boundary layer scattering because of the difficulties in haze characterization for each particular case [Schwander et al., 1997].

9.5  GEOGRAPHIC DIFFERENCES IN UV FLUXES

The major causes of geographical differences in peak summer or annually-integrated UV-fluxes are differences in latitude (solar zenith angle), regional differences in cloud, ozone, and aerosol amounts, differences in terrain height, and a larger Sun-Earth separation during the summer in the Northern Hemisphere compared to the Austral summer.

9.5.1 Mid and Low Latitude

Investigations of geographic differences based on measurements from the same instrument [Seckmeyer and McKenzie, 1992; Bernhard and Seckmeyer, 1997] have shown that for clear-sky observing conditions and similar solar zenith angles, UV fluxs measured in New Zealand are much higher than in Central Europe, e.g., the DNA- and erythemally- weighted fluxes are larger in New Zealand by factors of 1.81 and 1.44, respectively. The average difference in total column ozone between the two sites is 53 DU (New Zealand has less ozone). The ozone difference contributes to an increase in DNA-weighted UV by a factor of 1.58 ±0.1. The corresponding factor for erythemally-weighted flux is 1.28 ±0.1. Although stratospheric ozone is the dominant factor, a part of the differences arises from changes in tropospheric ozone and aerosol pollution which has increased in Europe [Staehelin and Schmid, 1991; Seckmeyer and McKenzie, 1992] compared to the relatively clean Southern Hemisphere atmosphere.

In a study which also considered clouds, Seckmeyer et al. [1995] have investigated geographical differences in erythemally-weighted UV based on measurements of five spectroradiometers and several broad-band UV meters.   Before the survey, the spectroradiometers were brought together for an intercomparison campaign. Based on the results of this examination, adjustments were made to correct for systematic calibration differences seen in the spectroradiometric data in order to avoid a bias in the data of the different instruments as much as possible.  The broad-band UV meters were calibrated in the field against the spectroradiometers.

To study geographical differences in UV, data from 12 locations, ranging from the South Pole to Barrow, Alaska, were analyzed. For each site, daily integrals of erythemal flux measured during summer months,  maxima, and monthly means of the daily integrals were compared.  At low latitudes, these levels appear to be similar in both hemispheres. However, for mid- and high-latitudes, it was found that geographic differences in UV clearly exceed the measurement uncertainties.  Erythemal fluxes at mid-southern latitudes appear to be approximately 40-50% greater than at corresponding northern latitudes.  The hemispheric differences are most pronounced at high latitudes.  In summer months the daily UV doses at high southern latitudes, and at the South Pole, are greater than at mid-latitudes in the Northern Hemisphere.   This is consistent with the results of the previous study by Seckmeyer and McKenzie [1992], where only clear-sky conditions were investigated.

The measurements were considered as a first step to estimate geographical differences in UV.  However, more data are needed to assess the variability (e.g., introduced by clouds) in UV, and to set up a global UV climatology.  Bernhard et al. [1997] have investigated the difference in solar UV between Southern Germany (47.5°N) and tropical Australia (19°S). The study is based on spectroradiometric measurements at both sites. The data from Australia are from a one month campaign during the Austral summer 1995/1996. The maximum values of erythemally weighted flux on clear-sky days were 372 mW/m2 (Australia) and 234 mW/m2 (Germany), which documents a difference of about 60%.

Several groups involved in spectral UV measurements over a wide range of latitudes in both hemispheres participated in a campaign that allowed the measurements to be directly compared [Seckmeyer et al., 1995].  The latitudinal variations seen in the summer months are shown in Figures 9.5-1 and 9.5-2.  Observed latitudinal gradients of UV-flux in the southern hemisphere were much smaller than in the north, because mid southern latitudes received approximately 50% more UV flux than corresponding sites in the Northern Hemisphere. An example is the difference observed between Lauder, New Zealand and Neuherberg, Germany for similar seasonal conditions, but very different ozone amounts (266 DU in Lauder and 352 DU in Neuherberg, ~30% difference).  Of all the sites involved, the highest monthly maximum over the period of study (up to end of 1994) was at Palmer Station in Antarctica in the month of November, when the region was still affected by ozone hole depletion

Measured monthly mean daily integrals of erythemal UV during the summer months as a function of latitude, including effects of aerosols, cloud, altitude, and ground albedo.  (From Seckmeyer et al., 1995)

Measured monthly maximum of the daily integrals of erythemal UV over the summer months as a function of latitude, including effects of aerosols, cloud, altitude, and ground albedo.    (From Seckmeyer et al., 1995).

9.5.2	High Latitude (North and South)

The maximum variability of UV-B caused by ozone changes on time scales of daily to yearly occurs at high latitudes (above 50o) in both hemispheres.  Year-to-year local variability in cloudiness is still the largest source of variability in monthly integrated UV flux measured at the ground [Frederick et al., 1993b; Diaz et al., 1994; Frederick et al., 1994; Diaz et al., 1996], although this can vary from one location to the next, depending on the timing and severity of ozone depletions.  Measurements in the 340 nm band show that cloudiness has a large influence on both the absolute monthly mean fluxes and their interannual variability  At the NSF (National Science Foundation) site in Ushuaia, Argentina (54.6o S), the lowest ozone column amounts  (1988-1997) were in the years 1995 to1997.  The highest UV fluxes occurred whenever the ozone hole region (220 DU contour) elongated into an elliptical shape that rotated over South America and the cloud cover was minimal. Examples of the springtime elongation and rotation of the 1993 ozone hole over South America are shown in Herman et al. [1995]. The highest integrated exposure occurs during the coincidental occurrence of cloud-free days with mild ozone depletion during the longer days of mid-summer rather than during the much more severe ozone depletions in early spring [Diaz et al., 1994; 1996].

The size and amount of ozone depletion in the Antarctic ozone hole region (ozone less than 220 DU) increased nearly linearly from 1979 to 1992 (with single-year deviations) [Herman et al., 1995].  After 1992 the area covered by the ozone hole increased slowly and stabilized at the boundaries of the south polar vortex wind system.  At the same time the amount of annual depletion has also stabilized since most of the ozone in the Antarctic troposphere and lower stratosphere is removed each spring by heterogeneous chemical reactions during the months of September and October.  The related problem of significantly increased UV-fluxes over the southern portions of Chile and Argentina is expected to persist until atmospheric chlorine amounts decrease to levels present in the 1970's. Persistent lower stratospheric temperatures or large amounts of volcanic aerosols could alter this prediction.

TOMS observations of ozone amounts over Ushuaia show a steady decline since 1980 on top of large day to day variability [Bojkov and Fioletov, 1995; Bojkov et al., 1995; Diaz et al.,1994; 1996].  Using ground-based measurements from an NSF high-resolution spectroradiometer, the increase in UV-flux for 1989-1993 relative to the 1979-1983 period was estimated to be 80% at 300 nm and 35% at 305 nm for a 15% ozone decrease (about 345 DU to 300 DU).  Bojkov and Fioletov [1995] state that the 300 nm flux observed during the spring (October) is as high as it is 4 months later during the summer.  That the increase in UV-flux is caused by ozone decreases is demonstrated by the characteristic shape of the percent change in UV-flux as a function of wavelength.  Similar results have been found by Kirchhoff et al., [1997] where measurements were made using a Brewer (single) spectroradiometer at Punta Arenas, Chile.  They found significant enhancements in UVB during the days when ozone-poor Antarctic air passes over portions of South America.. Results from a cruise originating in Punta Arenas (Chile) 53oS near the tip of South America to 71oS near Palmer station showed that the average UVB radiation (280 nm - 330 nm) inside of the Antarctic ozone hole was double the average measured outside of the region while UVA radiation levels were hardly affected [Wendler and Quackenbush, 1996].

Since the previous 1994 WMO report, there have been increasing occurrences of decreased ozone amounts over the Arctic and high latitude regions surrounding the Arctic (e.g., northern Canada and Russia) [Bojkov et al., 1995; Bojkov and Fioletov et al., 1997].  Bojkov et al. [1995] show that there have been ozone losses of up to 15 percent over Eurasia relative to the long-term mean ozone value.  The results indicate ozone deficiency over Europe, Siberia, and adjacent polar regions.  Since the solar zenith angles are similar to those in springtime southern Argentina, similar percentage increases in UV-flux at 300 nm and 305 nm are expected from the ozone decreases.  Recent data from Canada during 1996 and 1997 showed low ozone values and correspondingly high UVB fluxes [Fioletov et al., 1997].    Some of the ozone decrease, and therefore UV flux increase, is associated with colder stratospheric temperatures in recent years [Ramaswamy, 1996].  During the past few years, ozone amounts in the southern hemisphere have continued to decrease, however, the changes have not been as dramatic as those in the northern hemisphere.

9.5.3  Antarctica

At the Amundsen-Scott South Pole Station (~90oS ) the only solar angle variation comes from the seasonal cycle, with the solar elevation angles ranging from 23o (Summer) to angles below the horizon.  The dominant features in the Antarctic are the high surface reflectivity for UV flux from ice and snow and the large solar zenith angles.  Both of these features increase the amount of diffuse flux at the surface relative to the direct flux. Grenfell et al., [1994] measured variations in snow albedo at Amundsen-Scott South Pole Station and the Vostok Station finding a nearly uniform high value (0.96 - 0.98) across the visible and UV spectrum (300 nm to 400 nm) nearly independent of snow grain size and solar zenith angle. Under clear skies Grenfell et al. [1994] found that significant errors in apparent albedo can result if the instrument’s cosine response collector plate is not made parallel to the local surface instead of the horizon. Perturbations by clouds are relatively small at this site, due to the high surface albedo and to extremely cold temperatures which keep clouds from becoming optically thick.  As is normal for Antarctica, the highest instantaneous UV fluxes (erythema, or UV-B) do not occur at the time of the greatest ozone depletion, but at a time closer to the summer solstice, combining the effects of higher solar zenith angles with relatively low ozone.  Although the relative seasonal increases are large, the absolute UV fluxes at this site are still small compared with summer values at mid- or low-latitudes, but exceed values in the northern hemisphere with comparable solar zenith angles.

A complication to the correlation between ozone amount and the flux of UV striking the surface is caused by the presence of volcanic aerosols both at mid-latitudes [Zerefos et al., 1994;  Olmo and Alados-Arboledas, 1995] and in the Antarctic.  In general, the aerosol backscattering decreases the erythemal UV by about 5%. [Tsitas and Yung, 1996].  At high SZA, when there is a thin aerosol layer at an altitude where the direct solar beam is still a significant component of the total flux, the amount of UVB at the surface can be increased while at the same time the amount of UVA is decreased [Michelangeli et al., 1992].  This is because of the reduced average optical path through the ozone layer for scattered radiation compared to the direct beam.  The short wavelength portions of UVB (< 300 nm) are absorbed sufficiently by ozone so that its surface flux is increased by the presence of additional high altitude scattering, while UVA is reduced by the additional amount scattered back to the top of the atmosphere [Tsitas and Yung, 1996].  This effect is especially important at high latitudes where the proportion of scattered flux to direct beam flux is larger due to high solar zenith angles [Taalas et al., 1997].

9.6 COMPARISON OF CALCULATIONS TO OBSERVATIONS

9.6.1	Intercomparison of Some Radiative Transfer Models

The problem of successfully comparing different measurements of UV fluxes at the Earth’s surface is tied directly to accurate modeling using radiative transfer calculations.  Most of the radiative transfer calculations are essentially plane parallel multiple scattering methods with some having spherical geometry included for the primary and first order scattering (pseudo-spherical).  There are  methods of calculation that are more suitable for certain situations related to large optical depths (variations of doubling methods) and those that are more suitable for including complex aerosol scattering phase functions (variations on Gauss-Seidel methods).  The Gauss-Seidel method [Herman and Browning, 1965] is very versatile and has been used for radiative transfer calculations ranging from the UV to the IR. This method can handle such conditions as a non-Lambert reflecting surface [Ahmad and Fraser, 1982], polarization, all orders of multiple scattering, thick aerosol clouds [Herman et al., 1980], a mixture of particle compositions with different vertical distributions (i.e. aerosols and water droplets), scattering by large particles, scattering by non-spherical particles, scattering in a spherical atmosphere [Herman et al. 1996a], and thermal emission. Detailed comparisons of backscattered radiances have been computed  with the following codes: the TOMS Ozone Processing Team's version of the Gauss-Seidel code  (the Herman-Flittner code), the pure Rayleigh scattering code of Dave [1964] (used to create the TOMS Version 7 look-up tables), the Dave Fourier expansion Mie and Rayleigh scattering code [Dave and Gazdag, 1970] (used to analyze atmospheric aerosols and their effects on UV [Torres et al, 1998; Krotkov et al., 1998]), and the unpolarized version of the discrete ordinates method, DISORT [Stamnes et al., 1988].  All the comparisons show agreement in surface fluxes to better than 1% when the atmospheric model is the same. However, the differences in radiances between codes including polarization [Dave, 1964; Dave and Gazdag, 1970;  Herman and Browning, 1965] and those not including polarization [Stamnes et al., 1988] can be as large as 10% for a pure Rayleigh atmosphere.

Recently, full spherical geometry calculations [e.g., Herman et al., 1996a] have become possible on moderately fast computers and have been compared with much faster plane parallel computations. For fluxes, comparisons of pseudo-spherical calculations with full spherical geometry calculations show 1% agreement to approximately 84o solar zenith angle.

For the problem of determining UV-fluxes at the Earth’s surface in the presence of Rayleigh scattering ozone absorption, cloud scattering, aerosol scattering, and aerosol absorption, the vertical grid points must be selected with care, to represent the same atmosphere in each model, if the accuracies of the models are to be equivalent.  This is especially important in the Earth’s atmosphere for wavelengths where ozone absorption is large (e.g., 300 nm at moderate solar zenith angles, 50o - 70o).  Flux calculations can neglect polarization as a reasonable approximation, particularly when the atmosphere contains clouds.

For the precision needed for comparing radiance measurements the models should include polarization effects.   For small to moderate optical depths (J = 2 to 5) of scattering within clouds, polarization effects are important for radiance at the Earth’s surface.  For larger Mie scattering optical depths ( J>10 ), the solutions including polarization and those neglecting polarization agree to within 1%. Radiative transfer calculations suitable for large optical depths neglecting polarization are much faster computationally than methods including polarization.

When the above conditions are met, calculations using different modeling methods agree well for the same physical problem.  However, to represent the real atmosphere, there remain a number of outstanding problems.  From the viewpoint of local UV-flux and flux, the most important problem is that of modeling cloud effects for broken cloud fields, cloud fields containing different cloud types, and multi-layer broken clouds.  Next,  might be the problem dealing with reflections from the Earth’s surface, particularly over snow and ice ([Lenoble, 1997] and see Figure 9.4-3). There are also remaining problems with the angular distribution of reflections (non-Lambertian reflections) and the interactions with clouds.

Recent studies comparing spectra derived from radiative transfer calculations (UVSPEC) with ground-based measurements for clear days and with cloud/haze cover included show agreement (to within 10%) when the ozone and aerosol attenuation are known [Mayer et al., 1997].  The comparisons were done for Toronto, Canada [Eck et al., 1995], tropical Australia [Bernhard et al., 1997], Greece [Weihs and Webb, 1997], and southern Germany [Mayer et al., 1997].  The results suggest that accurate UVA (for cloud attenuation) and ozone measurements combined with multiple scattering radiative transfer calculations can provide the UV-fluxes over the 290 nm to 400 nm range. Surface UV fluxes in the presence of broken clouds have been modeled using Monte Carlo methods [Geogdzhaev et al., 1996;1997].  It should also be possible to use the approximate, but computationally faster, independent-pixel methods [Marshak et al., 1997].

Various approximate methods have been used for computational efficiency.  Use of these methods may compromise the accuracy needed to compare with measurements.  Forster and Shine [1995] compared the accuracy of the delta-Eddington and discrete-ordinate approximations for calculating high wavelength resolution UV surface fluxes. For certain atmospheric conditions differences were greater than 10% in integrated UVB between the delta-Eddington and 8 stream discrete-ordinate model.

It is desirable to perform wide-ranging parameter studies on various standard radiative transfer models to eliminate computational artifacts.  For example, Forster [1995] performed a sensitivity study on how the input parameters to the discrete-ordinate model influence surface UV fluxes.  The paper examined the influence of surface albedo, ozone profile, cloud and aerosol on the UV fluxes. He found that at 50oN midsummer, the effect on the UVB caused by a decrease in total column ozone could be partially offset by the addition of an urban-type aerosol. This was done to understand  the causes of the largest modeling uncertainties, and to allow calculation of errors for subsequent model predictions. Weihs and Webb [1997a; 1997b] added to the parameter space testing in Forster [1995], and gives a useful discussion of how uncertainties in model input parameters translate into UV flux errors.

9.6.2	Clear-sky Comparisons With Observations

Blumthaler et al. [1996] have compared measurements taken in Europe at sites that are relatively clear of aerosols (Lerwick and Esrange) and a site with heavy pollution (Ispra).  The data were compared with aerosol-free modeling results.  The comparison showed a strong dependence of UVB sky radiance on the presence of aerosol particles and a possible dependence on tropospheric ozone because of increased scattering from aerosols.  The absolute disagreement with model results is considerable, but the deviation from the predicted shapes shows the aerosol effect clearly.  Zeng et al. [1994] have compared clear-sky measurements before and after the Mt. Pinatubo eruption, and with a snow covered surface, with the results from a discrete ordinates radiative transfer model.  Their comparison suggests that reasonable clear-sky exposures can be computed if the atmospheric density, ozone amounts, surface albedo, and aerosol optical properties are known.

An extensive series of clear-sky surface UVB measurements in Greece and discrete ordinate model comparisons are described by Wang and Lenoble [1994] that included nonabsorbing aerosols in the first few kilometers above the ground.  They found agreement to about 6% over a wide wavelength (290 nm to 350 nm) and solar zenith angle range (44o to 75o)  for both global and direct fluxes.  According to Wang and Lenoble, one of the conclusions that could be drawn from the agreement between a well-calibrated instrument and the modeling using carefully derived input parameters, is that the model output might be used as a means of validating instrument calibration and validating its long-term maintenance. They also suggest that the models be used to extrapolate into the short wavelength regions for which most instruments fail to provide correct values.  The agreement found by Wang and Lenoble is consistent with the results of an uncertainty analysis of model input parameters by Schwander et al. [1997].

9.6.3	General Comparisons With Observations

Forster et al. [1995] and Weihs and Webb [1997b] compare instrument and the discrete-ordinate model results for both clear and cloudy conditions. Agreement between instrument and model of 6-10% was found for clear sky UVB fluxes, with worse agreement at short wavelengths (<300 nm). This result is consistent with earlier work of Wang and Lenoble [1994].  For cloudy skies, Weihs and Webb found the agreement was worse, with deviations between measurements and calculations of ±10% at 2 locations. The uncertainty of model input parameters was also shown to be an important contributing factor, especially measurements of the aerosol optical depth.  Achieving agreement between ground-based data in Germany and the UVSPEC model to approximately 5% requires the introduction ground-level aerosols [Mayer et al., 1997].  Systematic differences were between -11% and +2%.

The uncertainties in modeled UV fluxes are largely due to the limited accuracy and availability of input data characterizing the state of the atmosphere and the extrterrestrial flux.  Neglecting extraterrestrial flux uncertainties, the best results that can be expected with model inputs of ozone, aerosol, and SO2, are about 5% uncertain [Schwander et al., 1997].   They also conclude that these results cannot be improved significantly, even when measured values of vertical profiles of all atmospheric constituents are used. If only observed visibility is used instead of measured aerosol properties, then uncertainty is about 10% - 15%.  In addition to atmospheric uncertainties, part of the difficulty in comparing model calculations of absolute flux is with the input solar radiances (see Figure 9.3-1).  In the UVB region, satellite instruments differ at the 5% level [Cebula et al., 1996] giving a fundamental uncertainty between model results and ground-based measurements.

The problem of the cloud effect on UV-flux at the Earth’s surface has been modeled by Kylling et al. [1997] and compared to measurements.  They measured the UV-flux (300 nm to 410 nm) with moderate spectral resolution (1 nm) Zugspitze (2964 m altitude) and at Garmisch (730 m altitude) under cloudy and clear conditions 2 days apart. By forming the ratios of clear to cloudy results, Kylling et al. were able to show good agreement with model results over a wide range of wavelengths.  By combining the model and measurement results they were able to determine the apparent wavelength dependence of cloud transmission for “grey” clouds as being caused by radiation reflected from the cloud and Rayleigh scattered through the cloud again.

Results from the Dave [1964] multiple scattering code for a pure Rayleigh atmosphere containing a cloud correction term were compared with measurements from the Brewer instrument in Toronto [Eck et al., 1995] run by the Canadian Atmospheric Environmental Service [Kerr and McElroy, 1993].  The model was adjusted to the data by using independently measured cloud reflectivities R and ozone amounts from TOMS to determine the amount of UV-flux reduction in the 300 nm to 325 nm range.  Eck et al. [1995] showed that the simple cloud attenuation model (1 - R/0.95) explained the observed features as a function of wavelength and as a function of the day of the year to better than 10%.  Daily values could differ by much more than 10% because of the difference between the field of view of the spectroradiometer and the TOMS satellite, but weekly averages showed excellent agreement [Labow et al., 1998].

An example of a comparison between the Toronto Brewer data and UV flux calculated using TOMS data for a single day (8 August 1996) is shown in Figure 9.6-1.  The cases calculated from the Dave radiative transfer code are for clear sky using the TOMS measured ozone amount of 290 DU and a surface reflectivity of 4%.  The same calculation was made using the estimated cloud cover (JCLOUD = 40.4) from the TOMS measured radiances at 360 nm.  The result show good agreement between the Toronto Brewer measurement at the time of the TOMS overpass.  It also shows an example of the error that can occur if the TOMS data are used to estimate daily UV exposure unless the UV flux from enough days (at least 1 week) are averaged together.

Comparisons between radiative transfer derived results (smooth curves) for clear and cloudy skies and corresponding ground-based measurements (squares) for 8 August 1996 at Toronto Canada (Brewer data from WOUDC database).  The vertical straight line marks the time of the TOMS overpass of Toronto.

Aside from the TOMS satellite estimates (see Figures 9.3-2 a -d), there is a lack of long-term UV-flux measurements with global coverage and high wavelength resolution. However, there are long-term global data sets for many of the input parameters that go into the UV modeling calculations. Forster [1994] compiled a preliminary 4 season climatology of daily doses of UVA, UVB and erythermally weighted UV, for both clear and cloudy skies. This work has been improved on by Sabziparvar [1997], who has used a monthly-mean 3-D climatology to calculate daily UVB doses and several biological doses, by weighting the UV fluxes with various biological action spectra. These climatologies were produced for a variety of aerosol loadings, since the few existing global aerosol climatologies are very uncertain. The input climatology was compiled by Freckleton and Forster [1996]; it contains ozone and temperature profiles, surface albedo, and also cloud type and amounts. The comparisons between measurements and model calculations are vital to develop understandings of problems and deficiencies in both.

9.7  LOCAL PREDICTABILITY AND FORECASTING

Since the 1994 WMO/UNEP report, an international agreement has been reached on defining a UV Index for the dissemination of UV exposure information to the public [WMO, 1994]. The UV-index has been used in daily weather reports and in forecasts used by the media in several countries.  In Canada, where the UV Index was developed and first used, and in USA, predictions of the UV index include advection effects of measured ozone fields and estimates of cloud attenuation [Long, 1996; Burrows, 1997].  In Canada, the ozone measurements are from the network of Brewer instruments, whereas in the USA, satellite measurements of ozone and cloud-amount predictions are used.  Similar products involving the UV Index are becoming available in other countries.  The index gives a broad regional prediction of the amount of UV expected on a scale that is essentially a danger index for human exposure, but is intended to be applicable to other processes involving UV-damage as well.  The index is based on incidence on a horizontal surface only, and can underestimate the risk for surfaces in other orientations  [McKenzie et al., 1997], such as surfaces which are oriented towards the sun (e.g., eye cataracts).  A recent paper by Ziemke et al. [1997] examines the NOAA method of UV forecasting [Long, 1996] and compares it with a more robust statistical approach.  The results show that a modest improvement in UV predictability can be obtained.  The ability to accurately predict cloud fields and their effect on UV remains a challenging problem [Burrows, 1997].

9.8  SUMMARY

The field of UV-flux determination has grown considerably in the last 4 years with notable improvements in calibration, ground-based instrumentation, and the use of satellite-borne sensors. The recent estimation of UV-fluxes and trends including cloud effects from a stable well calibrated satellite instrument (Nimbus-7/TOMS) takes advantage of the spatial averaging and contiguous global coverage inherent in the measurement. This permitted the first global estimate of UV-flux trends that included cloud attenuation. The study of UV at the Earth’s surface should combine the results from the global flux estimates available from satellite observations and local networks of intercompared ground-based spectrometers and radiometers.  This permits the local and regional effects of clouds, ozone, and aerosols on UV fluxes to be properly assessed.  It is necessary that the satellite estimations of UV flux be validated under the widest possible range of geophysical conditions.  Once the validation is accepted, the time-averaged satellite estimations can be used to monitor the calibration stability of widely separated ground-based instruments of all types.

New types of filter instruments have been developed that promise good results at lower costs. All types of instruments and their calibrations have improved substantially, but still must be further improved if long-term UV trends are to be detected using local data. Currently, the best intercomparisons between different instruments are within ±5%.  The measured effects of altitude, aerosols, geographic differences, and anti-correlation with ozone amounts are much better understood..  An Internationally-standardized UV Index has been put into use in many countries to provide a public information about UV radiation.

Hyperlinks to bibliography:

Q							X	Y

9.9  BIBLIOGRAPHY (* = Not used in this report)

Ahmad, Z. and R.S. Fraser, An iterative radiative transfer code for ocean-atmosphere systems, J. Atmos. Sci., 39, 656-665, 1982..

*Ambach, W., M. Blumthaler, and T. Schope, Increase of biologically effective ultraviolet radiation with altitude, Journal of Wilderness Medicine, 4, 189-197, 1993.

*Bais, A. F., C. S. Zerefos, C. Meleti, I. C. Ziomas, and K. Tourpali, Spectral measurements of solar UVB radiation and its relations to total ozone, SO2 and clouds, J. Geophys. Res., 98, 5199-5204, 1993.

Bais, A.F., C.S. Zerefos, C.T. McElroy, Solar UVB measurements with the double- and single-monochromator Brewer Ozone Spectrophotometers, Geophys. Res. Lett, 23, 833-836, 1996.

Bais, A.F.., M. Blumthaler, A. R. Webb, J. Groeber, P. J. Kirsch, B. G. Gardiner, C. S. Zerefos, Svenoe, and T. J. Martin, Spectral UV measurements over Europe within the SESAME activities, J. Geophys. Res., 102, 8731-8736, 1997.

Balachandran, N. K., and D. Rind, Modeling the effects of UV variability and the QBO on the troposphere-stratosphere system. Part I: The middle atmosphere, J. Climate, 8, 2058-2079, 1995.

*Balis, D.S., Bais, A.F., Papayannis, A.D., Marenco, F., Santasesaria, V., and Zerefos, C.S., Comparison of model calculations with spectral solar UV measurements, Quadrennial Ozone Symposium, 1996.

*Basher,R.E., X.Zheng, and S.Nichols, Ozone-related trends in solar UV-B series, Geophys. Res. Lett, 21, 2713-2716, 1994.

Bernhard, G., B. Mayer, and G. Seckmeyer, All weather comparisons between spectral and broadband (Robertson-Berger) UV meters, Photochem and Photobiology, 64, 792-799, 1996.

Bernhard, G., B. Mayer, and G. Seckmeyer, Measurements of spectral solar UV irradiance in tropical Australia, J. Geophys. Res., 102, 8719-8730, 1997.

Bernhard and G. Seckmeyer, New entrance optics for solar spectral uv measurements, Photochem and Photobiology, 65, 923-930, 1997.

*Bernsten, T., I. S. A. Isaksen, J. S. Fuglestvedt, G. Myhre, T. Alsvik Larsen, F. Stordal, R. S. Freckleton and K. P. Shine, Effects of anthropogenic emissions on tropospheric ozone and its radiative forcing, J. Geophys. Res., submitted., 1997.

Bigelow, D.S., J.R. Slusser, A.F. Beaubien and J.H. Gibson, The USDA Ultraviolet Radiation Monitoring Program, Bull. Amer. Meteor. Soc.,  in press 1998.

*Blindauer, C. Rozanov, V. Burrows, J. P., Actinic flux and photolysis frequency comparison computations using the model PHOTOGT, J. Atmos. Chem., 24, 1-21, 1996.

Blumthaler, M., W. Ambach, and M. Salzgeber, Effects of cloudiness on global and diffuse UV irradiance in a high-mountain area, Theor. Appl. Climatol., 50, 23-30, 1994a.

*Blumthaler, M., and W. Ambach, Changes in solar radiation fluxes after the Pinatubo eruption, Tellus, 46B, 76-78, 1994.

Blumthaler, M., J. Grobner, M. Huber, and W. Ambach, Measuring spectral and spatial variations of UVA and UVB sky radiance, Geophys. Res. Lett., 23, 547-550, 1996.

Blumthaler, M., W. Ambach. R. Ellinger, Increases in solar UV radiation with altitude, Photochem and Photobiology B: Biology, 39, 130-134, 1997.

Bodeker, G. E.and R.L. McKenzie, An algorithm for inferring surface UV irradianceincluding cloud effects, J. Appl. Meteorol., 35, 1860- 1877, 1996.

Bodhaine, B. A., R. L. McKenzie, P. V. Johnston, D. J. Hofmann, E. G. Dutton, R. C. Schnell, J. E. Barnes, S. C. Ryan, and M. Kotkamp, New ultraviolet spectroradiometer measurements at Mauna Loa Observatory, Geophys. Res. Lett., 23, 2121-2124, 1996.

Bodhaine, B. A., E. G. Dutton, R. L. McKenzie, and P. V. Johnston, Spectral UV measurements at Mauna Loa: July 1995-July 1996, J. Geophys. Res., 23, 2121-2124, 1997.

Bojkov, R. D., V. E. Fioletov, and S. B Diaz,., The relationship between solar UV irradiance and total ozone from observations over southern Argentina, Geophys. Res. Lett., 22, 1249-1252, 1995.

*Bojkov, R. D., and V. E. Fioletov, Total ozone changes over Eurasia since 1973 based on reevaluated filter ozonometer data, Geophys. Res. Lett., 99, 22,985-22,999, 1994.

Bojkov, R. D..and  V. E.  Fioletov., Total ozone variations in the tropical belt: An application for quality of ground-based measurements, Meteorol. and Atmos. Physics, 58, 223-240, 1995.

Bojkov, R. D. V. E, Fioletov,. D. S. Balis, C. S. Zerefos,. T.V.  Kadygrova, and A. M., Shalamjansky, Further ozone decline during the northern hemisphere winter-spring of 1994-1995 and the new record low over Siberia, Geophys. Res. Lett., 22, 2729-2732,  1995.

Bojkov, R. D.and  Fioletov, V. E., Estimating the global ozone characteristics during the last 30 years, J. Geophys. Res., 1995, 100, 16,537-551, 1995.

Bojkov, R. D., and V. E. Filoletov, Changes in lower stratospheric ozone over Europe and Canada, J. Geophys. Res., 102, 1337-1347, 1997.

Booth, C.R., Mestechkina, T. and J.H. Morrow, Errors in the reporting of solar irradiance using moderate bandwidth radiometers: an experimental investigation, SPIE, 2258, Ocean Optics XII, 654-663, 1994.

Bordewijk, J. A. Slaper, H. Reinen, H. A. J. M. Schlamann, Total solar radiation and the influence of clouds and aerosols in the biologically effective UV, Geophys. Res. Lett., 22, 2151-2154, 1995.

*Bruhl, C., and P. J. Crutzen, On the disproportionate role of tropospheric ozone as a filter against solar UV-B radiation, Geophys. Res. Lett., 16, 703-706, 1989.

Brueckner, G.E., et al., The Solar Ultraviolet Spectral Irradiance Monitor (SUSIM) on board the Upper Atmospheric Research Sattelite (UARS), J. Geophys. Res.,98, 10695-10711, 1993.

Burrows, W. R., CART regression models for predicting UV radiation at the ground in the presence of cloud and other environmental factors, J. Appl. Meteorol., 36, 531-544, 1997.

*Cabrera, S., S. Bozzo, and H. Fuenzalida, Variations in UV radiation in Chile, J. Photochem. and Photobio., 28, 137-142, 1995.

Cebula, R. P. Thuillier, G. O. VanHoosier, M. E. Hilsenrth, E. Herse, M. Brueckner, G.E. Simon, P. C., Observations of the solar irradiance in the 200-350 nm interval during the ATLAS-1 mission: A comparison among three sets of measurements - SSBUV, SOLSPEC, and SUSIM, Geophys. Res. Lett., 23, 2289-2292., 1996.

Celarier, E., N. A. Krotkov , D. Flittner, J. Herman and P. K. Bhartia, The spectral effect of clouds on the UV flux at the earth’s surface, J. Geophys. Res., submitted, 1998.

Cebula, R. P., E. Hilsenrath, and M. T. Deland, Middle ultraviolet solar spectral irradiance measurements, 1985-1992, from SBUV/2 and SSBUV instruments, The Sun as Variable Star: Solar and Stellar Variations, ed., J.M. Pap et al., Pp. 81-88, Cambridge University Press, Cambridge, UK, 1994.

Cebula,R.P., G.O. Thuillier, M.E. VanHoosier, E.Hilsenrath, M. Herse, G.E. Brueckner, P.C. Simon, Observations of the solar irradiance in the 200 - 350 nm interval during the ATLAS I mission: A comparison among three sets of measurements - SSBUV, SOLSPEC, and SUSIM, Geophys. Res. Lett., 23, 2289-2292, 1996.

*Chandra, S., and R. D. McPeters, The solar cycle variation of ozone in the stratosphere inferred from Nimbus 7 and NOAA 11 satellites, J. Geophys. Res., 99, 20665-20671, 1994.

*Chandra, S., The solar UV related changes in total ozone from a solar rotation to a solar cycle, Geophys. Res. Lett., 18, 837-840, 1991.

*Chandra, S., R. D. McPeters, W. Planet, and R. M. Nagatani, The 27 day solar UV response of stratospheric ozone:  solar cycle 21 vs. solar cycle 22, J. Atmos. and Terr. Phys., 56, 1057-1065, 1994.

*Chandra, S., J. L. Lean, O. R. White, D. K. Prinz, G. J. Rottman, and G. E. Brueckner, Solar UV irradiance variability during the declining phase of the solar cycle 22, Geophys. Res. Lett., 22, 2481-2484, 1995.

*Chandra, S. C. Varotsos.. L. E. Flynn,, The mid-latitude total ozone trends in the northern hemisphere, Geophys. Res. Lett., 23, 555-558, 1996.

*Charache, D. H., V. J. Abreu, W. R. Kuhn, and W. R. Skinner, Incorporation of multiple cloud layers for ultraviolet radiation modeling studies, J. Geophys. Res., 99, 23031-23039, 1994.

Chubarova N.E., The transmittance of Global Ultraviolet Radiation by Different clouds types, Izvestiya Atmospheric and Oceanic Physics, 29, N5, 1993.

*Coffey, M. T., Observations of the impact of volcanic activity on stratospheric chemistry, J. Geophy. Res., 101, 6767-6780, 1996.

*Correll, D. L., C. O. Clark, B. Goldberg, V. R. Goodrich, D. R. Hayes, Jr., W. H. Klein, and W. D. Schecher, Spectral ultraviolet-B radiation fluxes at the earth’s surface:  long-term variations at 39EN, 77EW, J. Geophys. Res., 97, 7579-7591, 1992.

*Cracknell, A. P. Varotsos, C. A., The present status of the total ozone depletion over Greece and Scotland: A comparison between Mediterranean and more northerly latitudes, Int. J. Remote Sensing, 16, 1751-1764, 1995.

Cullen, J.J. and P.J.Neale, Ultraviolet radiation, ozone depletion, and marine photosynthesis, Photosynthesis Research, 39, 303-320, 1994.

*Dahlback, A., T. Henricksen, S. H. H. Larsen, and K. Stamnes, Biological UV-doses and the effect of an ozone layer depletion, Photochem. and Photobio., 49, 621-625, 1989.

Dahlback, A., Measurements of biologically effective UV doses, total ozone abundance and cloud effects with multi-channel moderate bandwidth filter instruments, Appl. Opt., 35, 6514-6521, 1996.

Dave, J.V.  Meaning of successive iteration of the auxiliary equation in the theory of radiative transfer, Astrophys. J., 140, 1292-1303, 1964.

Dave, J.V., and J. Gazdag, A modified fourier transform method for multiple scattering calculations in a plane parallel Mie atmosphere, Appl. Opt., 9, 1457-1466, 1970.

DeLand, M. T., and R.P. Cebula, NOAA-11 SBUV/2 solar spectral irradiance measurements 1989-1994: II. Results, Validation, and Comparisons, Journ. Geophys. Res., submitted, 1997.

DeLuisi, J.J. and J. Barnett, An examination of the calibration stability of the US Robertson-Berger meter network (abstract), EOS Trans. AGU, 79(43) Fall Meeting Suppl., 1992.

Diaz, S.B., C.R. Booth, T.B. Lucas, and I. Smolskaia, Effects of Ozone Depletion on Irradiances and Biological Doses over Ushuaia Advances in Limnology, 43, 115-122, November 1994.

Diaz,  S.B., J.E. Frederick, T.B. Lucas, C.R. Booth, and I. Smolskaia. Solar Ultraviolet Irradiance at Tierra del Fuego: Comparison of Measurements and Calculations over a Full Annual Cycle. Geophysical Research Letters Vol. 23, 355-358, 1996.

Duguay, C. R., An approach to the estimation of surface net radiation in mountain areas using remote sensing and digital terrain data, Theor. Appl. Climatol., 52, 55-68, 1995.

Eck,T.F., P.K.Bhartia, P.H. Hwang, and L.L. Stowe, Reflectivity of Earth’s surface and clouds in ultraviolet from satellite observations, J. Geophys. Res., 92, 4287-4296, 1987.

Eck,T.F., P.K.Bhartia, and J.B.Kerr, Satellite estimation of spectral UVB irradiance using TOMS derived total ozone and UV reflectivity, Geophys. Res. Lett., 22, 611-614, 1995.

*El Bakry, M. M., Net radiation over the Aswan High Dam Lake, Theor. Appl. Climatol., 49, 129-133, 1994.

*El-Shal, A. O., and A. B. Mayhoub, Estimating solar radiation as a function of air temperature using Fourier series, Theor. Appl. Climatol., 54, 153-159, 1996.

Environment Canada, OzoneScience: A Canadian Perspective on the Changing Ozone Layer, Atmospheric Environment Service Internal Report CARD 97-3, D.I. Wardle, J.B. Kerr, C.T. McElroy and D.R. Francis Eds., 119 pp, 1997.

Estupinan, J. G. Raman, S. Crescenti, G. H. Streicher, J. J. Barnard, W. F., The effects of clouds and haze on UV-B radiation, J. Geophys. Res., 101, 16,807-16,816, 1996.

*Farh, A. Nayak, A. K. Huie, R. E., Temperature dependence of the ultraviolet absorption cross section of CF3I, Chem. Phys., 199, 275-284, 1995.

Feister, U. and R. Grewe,, Higher UV radiation inferred from low ozone levels at northern midlatitudes in 1992 and 1993, Global and Planetary Change, 11, 25-34, 1995.

Fioletov V.E. and W.F.J. Evans, The influence of ozone and other factors on surface radiation, In: Ozone Science: a Canadian Perspective on the changing ozone layer,Edited by D.I.Wardle, J.B.Kerr, C.T. McElroy, and D.R. Francis, University of Toronto Press (Available from AES, Canada), pp. 73-90, 1997 .

Fioletov, V.E. and J.B. Kerr, Numerical relationship between UV irradiance, total ozone, and other variables from analysis of Brewer spectral UV-B measurements archived at the World Ozone and UV Data Centre, Proc. Quad. Ozone Symp., 1997.

Fioletov, V.E., J.B. Kerr and D.I. Wardle, The relationship between total ozone and spectral UV irradiance from Brewer spectrophotometer observations and its use for derivation of total ozone from UV measurements, Geophys, Res. Lett., 24, 2705-2708, 1997.

Forster, P. M. de F., Measuring and modeling UV radiation. Thesis, University of Reading, UK. (1994).

Forster, P. M. de F. and K,P.,Shine, A comparison of two radiation schemes for calculating ultraviolet radiation, Q. J. R. Meteorol. Soc., 121, 1113-1131, 1995.

Forster, P. M. de F., Modeling ultraviolet radiation at the Earth's surface. Part I: The sensitivity of ultraviolet irradiance to atmospheric changes, J. Appl. Meteorol., 34, 2412-2425,  1995.

Forster, P. M. de F., K. P. Shine and A. R. Webb, Modelling ultraviolet radiation at the earth's surface. II. Model and instrument comparison. J. Appl. Meteorol., 34, 2426-2439, 1995.

Frederick, J. E. and H.D. Steele, The transmission of sunlight through cloudy skies: An analysis based on standard meteorological information, J. Appl. Meteorol., 34, 2755-2761, 1995.

Frederick, J. E., A. E. Koob, A. D. Alberts, and E. C. Weatherhead, Empirical studies of tropospheric transmission in the ultraviolet:  Broadband measurements, J. Appl. Meteor., 32, 1883-1892, 1993.

Frederick, J. E., S. B. Diaz, I. Smolskaia, W. Esposito, T. Lucas, and C. R. Booth, Ultraviolet solar radiation in the high latitudes of South America, Photochem. and Photobio., 60, 356-362, 1994.

Frederick, J. E., and E. C. Weatherhead, Temporal changes in surface ultraviolet radiation:  A study of the Robertson-Berger meter and Dobson data records, Photochem. and Photobio., 56, 123-131, 1992.

Frederick, J.E. and C. Erlick, The attenuation of sunlight by high latitude clouds: Spectral dependence and its physical mechanisms, J. Atmos. Sci., 54, 2813-2819, 1997.

Gardiner, B. G., A. R. Webb, A. F. Bais, and et al., European intercomparison of ultraviolet spectroradiometers, Environmental Technology, 14, 25-43, 1993.

Geogdzhaev, I. V., T. V. Kondranin, N. E. Chuvarova, and A. N. Rublev, Comparison of UV measurements and modelling under broken cloudiness, paper presented at Proc. International Radiation Symposium, University Alaska, Fairbanks, Alaska, 19-24 August, 1996.

Geogdzhaev, I.V., T.V.Kondranin, A.N.Rublev, and N.E.Chubarova, UV radiation transfer through broken cloud fields: modeling and comparison with  measurements, Izvestiya, Atmospheric and Oceanic Physics,  33, 680-686, 1997.

Grant, R. H., G. M. Heisler, and W. Gao, Clear sky radiance distributions in ultraviolet wavelength bands, Theor. Appl. Climatol., 371, 1-13, 1996.

Green, A. E. S., The penetration of ultraviolet radiation to the ground, Physiol. Plant, 58, 351-359, 1983.

Grenfell, T. C., S. G. Warren, and P. C. Mullen, Reflection of solar radiation by the Antarctic snow surface at ultraviolet, visible, and near-infrared wavelengths, J. Geophys. Res., 99, 18,669-18,684, 1994.

Herman, B.M. and S.R. Browning,, A numerical solution to the equation of radiative transfer, J. Atmos. Sci., 22, 559-566., 1965.

Herman, B.M., W. Asous, and S.R. Browning, A semi-analytic technique to integrate the radiative transfer equation over optical depth, J. Atmos. Sci., 37, 1828-1838, 1980.

Herman, J. R., R. McPeters, R. Stolarski, D. Larko, and R. Hudson, Global Average Ozone Change From November 1978 to May 1990, J.  Geophys. Res., 96, 17279-17305, 1991.

Herman, J.R. and D.Larko, Low ozone amounts during 1992-1993 from Nimbus-7 and Meteor-3/TOMS,  J.Geophys. Res., 99, 3438-3496, 1994.

Herman, J. R., Newman, P. A., Larko, D., Meteor-3/TOMS observations of the 1994 ozone hole, Geophys. Res. Lett., 22, 3227-3229, 1995.

Herman, B.M., T.R. Caudill, D.E. Flittner, K.J. Thome, and A. Ben-David,1996, Comparison of the Gauss-Seidel spherical polarized radiative transfer code with other radiative transfer codes, Appl. Opt., 34, 4563-4572., 1996a.

Herman,J.R., P.K.Bhartia, J.Kiemke, Z.Ahmad, and D.Larko, UV-B increases (1979-1992) from decreases in total ozone, Geophys. Res. Lett., 23, 2117-2120, 1996b.

Herman, J.R., P.K. Bhartia, O.Torres, C. Hsu, C. Seftor, E. Celarier, Global Distribution of UV-Absorbing Aerosols From Nimbus-7/TOMS Data, J.Geophys. Res., 102, 16,911-16,922, 1997.

Herman, J.R. and E. Celarier, Earth Surface Reflectivity Climatology at 340 nm to 380 nm from TOMS Data, J. Geophys. Res., 102, 28,003 - 28,011, 1997.

Hofmann, D. J., Oltmans, S. J., Bodhaine, B. A., Koenig, G. L., Harris, J. M.,  Lathrop, J. A., Schnell, R. C., Barnes, J., Chin, J., Kuniyuki, D., Ryan, S.,  Uchida, R., Yoshinaga, A., Neale, P. J., Hayes, D. R., Goodrich, R., Komhyr, W.  D., Evans, R. D., Johnson, B. J., Quincy, D. M. and Clark, M., Record low  ozone over Mauna Loa observatory, Hawaii during the winter of 1994-1995.  Geophys. Res. Lett., 23, 1533-1536, 1996.

Horneck, G. Quantification of the biological effectiveness of environmental UV radiation, J. Photochem  Photobiol B: Biology, 31, 43-49, 1995.

Hsu, N. C., and J.R. Herman, Comparisons of the TOMS aerosol index with sun photometer aerosol optical thickness, J. Geophys. Res., submitted, 1998.

*Huber, M. Blumthaler, M. Ambach, W., Total atmospheric ozone determined from spectral measurements of direct solar UV irradiance, Geophys. Res. Lett., 22, 53-56, 1995.

Ireland, W., and R. Sacher, The angular distribution of solar ultraviolet, visible and near-infrared radiation from cloudless skies, Photochem. Photobiol., 63, 483-486, 1996.

Ito, T., Y. Sakoda, T. Uekubo, H. Naganuma, M. Fukuda, and M. Hayashi, Scientific application of UV-B observations from JMA network, in Proceedings 13th UOEH International Symposium and the 2nd Pan Pacific Cooperative Symposium on Human Health and Ecosystems, Kitakyushu, Japan, 13-15 October 1993, 1994.

*Jacovides, C. P. Kaltsounides, N. A. Giannourakos, G. P. Kallos, G. B., Trends in attenuation coefficients in Athens, Greece, from 1954 to 1991, J. Appl. Meteorol., 34, 1459-1465, 1995.

*Jacovides, C. P., P. Kassomenos, and N. A. Kaltsunides, Estimates of effective aerosol optical depths from spectral solar radiation measurements, Theor. Appl. Climatol., 53, 211-220, 1996.

Justus, C.G. and B.B.Murphey, Temporal trends in surface irradiance at ultraviolet wavelengths, J. Geophys. Res., 99:D1, 1389-1394, 1994.

Kerr,J.B., and C.T.McElroy, Evidence for Large Upward Trends of Ultraviolet-B Radiation Linked to Ozone Depletion, Science, 262, Pp.1032-1034, 1993.

Kerr, J.B., and C.T. McElroy, Response, Science, 264, 1342-1343, 1994. (Responding to with Michaels, P.J., S.F. Singer, P.C. Knappenberger, Analyzing Ultraviolet-B Radiation: Is There a Trend?, Science, v.4, 264, 1341-1342, 1994.

Kerr, J.B., Observed dependencies of atmospheric UV radiation and trends, NATO ASI Series, Vol. I 52, Eds. C.S. Zerefos and A.F. Bais, Berlin: Springer-Verlag, 259-266, 1997a.

Kerr, J.B., Diurnal variation of column ozone at Toronto and Edmonton, Proc. Quad. Ozone Stmp., 1997b.

Kerr, J.B. and C.T. McElroy, Analyzing ultraviolet-B radiation: is there a trend?, Science, 264,1342-1343, 1994.

Kerr, J.B. and C.T. McElroy, Total ozone measurements made with the Brewer ozone spectrophotometer during STOIC 1989, J. Geophys. Res., 100, 9225-9230, 1995.

Kirchhoff, V.W.J.H., F. Zamorano, C. Casiccia, UV-B enhancements at Punta Arenas, Chile, J. Photochem and Photobio. B: Biology, 38, 174-177, 1997.

Kohler, U., Recalibration of the Hohenpeissenberg Dobson spectrophotometer 104 presuming effective absorption coefficients’, J. Atmos. Chem., 4, 359-373, 1986.

Koskela T., (ed.): The nordic intercomparison of ultraviolet and total ozone instruments at Izana from 24 October to 5 November 1993, Final report, Helsinki, 1994.

Kjeldstad, B., B. Johnson and T. Koskela (ed.s.): The nordic intercomparison of ultraviolet and total ozone instruments at Izana in October 1996, Final report, Finish Meteorological Institute, 1998.

Krotkov, N.A., P.K. Bhartia, J.R. Herman, V. Fioletov and J. Kerr "Satellite estimation of spectral surface UV irradiance in the presence of tropospheric aerosols 1: Cloud-free case"  submitted to J. Geophys. Res., 1998.

Krzyscin, J. W., UV controlling factors and trends derived from the ground-based measurements taken at Belsk, Poland, 1976-1994, J. Geophys. Res., 101, 16797-16805, 1996.

*Kylling, A., K. Stamnes, R. R. Meier, and D. E. Anderson, The 200- to 300-nm radiation field in the stratosphere:  Comparison of models with observation, J. Geophys. Res., 98, 2741-2745, 1993.

Kylling, A., A. Albold, and G. Seckmeyer, Transmittance of a cloud is wavelength-dependent in the UV-range:  Physical interpretation, Geophys. Res. Lett., 24, 397-400, 1997.

Labow, G.J., J.R. Herman, E. Celarier, N. Krotkov, and J.B. Kerr, Estimates of Spectral UV Irradiance from the TOMS Instruments: Comparisons with Ground-based Measurements, manuscript, submitted to J. Geophys. Res., 1998.

Leavitt, P. R. R.D. Vinebrooke, D.B. Donald, J.P. Smol, and D.W.. Schindler,, Past ultraviolet radiation environments in lakes derived from fossil pigments, Nature, 388, 457-459, 1997.

Lenoble, J.,Modeling of the influence of snow reflectance on UV irradiance for cloudless sky. Submitted to Applied Optics, 1997.

Leszczynski K, K. Jokela, L. Ylianttila , R. Visuri, and M. Blumthaler, Report of the WMO/STUK Intercomparison of Erythemally-Weighted Solar UV Radiometers (Spring/Summer 1995, Helsinki, Finland). World Meteorological Organization, Global Atmosphere Watch, Report No. 112, 90 pages, 1997.

Leszczynski K, K. Jokela, L. Ylianttila , R. Visuri, and M. Blumthaler, Erythemally Weighted Radiometers in solar UV Monitoring: results from the WMO/STUK Intercomparison. Photochem. Photobiol. 67(2), in press, 1998.

Liepert, B., P. Fabian, and H. Groassl, Solar radiation in Germany, observed trends and an assessment of their causes, Contributions to atmospheric physics, Vol. 1, publ. Vieweg, 1994.

*Liu, S. C., S. A. McKeen, and S. D. Madronich, Effect of anthropogenic aerosols on biologically active ultraviolet radiation, Geophys. Res. Lett., 18, 2265-2268, 1991.

Liley, J.B. and R.L. McKenzie,  Time-dependent wavelength non-linearities in spectrometers for solar UV monitoring.  In: IRS'96: Current Problems in Atmospheric Radiation. Smith, W.L.; Stamnes, K. (eds.) Deepak, Hampton, Va., 1997.

Long, Craig S., Ultraviolet Index Verification Report: Indicators of Surface Ultraviolet Radiation Observation Characteristics, NOAA, National Centers for Environmental Predication, 1996.

Longstreth, J. D. F.R. DeGruijl, M.L. Kripke, Y.. Takizawa, and J.C. Vanderleun,  Effects of increased solar ultraviolet radiation on human health, Ambio,  24, 153-165, 1995.

Lubin, D. and E.H.Jensen, Effects of clouds and stratospheric ozone depletion on ultraviolet radiation trends, Nature, 377, 710-713, 1995.

Madronich, S., R. L. McKenzie, M. M. Caldwell, and L. O. Bjorn, Environmental effects of ozone depletion 1994 update draft, United Nations Environment Programme, Chapter 1, 1-20e, 1994.

Madronich , S., The atmosphere and UV-B radiation at ground level, Enviro. UV Photobio.,  ed. A. R. Young, 1-39, 1993.

Madronich, S., and F. R. deGruijl, Skin cancer and UV radiation, Nature, 366, 23, 1993.

Madronich, S., and F. R. deGruijl, Stratospheric ozone depeletion between 1979 and 1992; Implication for biologically active ultraviolet-B radiation and non-melanoma skin cancer incidence, Photochem. Photobiol., 59, 541-546, 1994.

Madronich, S., Trends in surface UV radiation, NATO ASI Series, I8, 463-471, 1993a.

Madronich, S., Increases in biologically damaging UV-B radiation due to stratospheric ozone depletion:  A brief review, Archiv fur Hydrobiologie, 1993b.

*Madronich, S., Implications of recent total atmospheric ozone measurements for biologically active ultraviolet radiation reaching the earth’s surface, Geophys. Res. Lett., 19, 37-40, 1992.

*Madronich, S., The radiation equation, Nature, 377, 682, 1995.

Madronich, S. R.L. McKenzie, M. Caldwell, and L.O. Bjorn,  Changes in ultraviolet radiation reaching the Earth's surface, Ambio, 24, 143-152, 1995.

Marshak, A., A. Davis, R.F. Calahan, and W.J. Wiscomb, Nonlocal independent pixel approximation: Direct and inverse problems, IEEE Trans. Geosc. and Remote Sens., 1997.

Mayer, B. and G. Seckmeyer, All-weather comparison between spectral and broadband (Robertson-Berger) UV measurements, Photochemistry and Photobiology, 64, 792-799, 1996.

Mayer, B, G. Seckmeyer and A. Kylling, Systematic long-term comparison of spectral UV measurements and UVSPEC modeling results, J. Geophys. Res., 102, 8755-8767, 1997.

Mayer, B, G. Seckmeyer and A. Kylling, Systematic long-term comparison of spectral UV measurements and UVSPEC modeling results, J. Geophys. Res., 102, 8755-8767, 1997.

*McLinden, C., D.J. Chartrand, E. Griffioen, C. McConnell and C.T. McElroy, The Impact of Non-Lambertian Wavelength-Dependent Reflecting Surfaces on Stratospheric Radiation and Photochemistry, J. Atmos. Chem., 26, Pp. 29-64, 1997.

*McLinden, C. A., J. C. McConnell, E. Griffioen, C. T. McElroy, and P. Fister, Estimating the wavelength-dependent ocean albedo under clear-sky conditions using NASA ER-2 spectroradiometer measurements, J. Geophys. Res., 102, 18,801-18,811, 1997.

McKenzie, R. L., M. Kotkamp, and W. Ireland, Upwelling UV spectral irradiances and surface albedo measurements at Lauder, New Zealand, Geophys. Res. Lett., 23, 1757-1760, 1996b.

McKenzie, R. L., M. Blumthaler, R. Booth, S. B. Diaz, J. E. Frederick, T. Ito, S. Madronich, and G. Seckmeyer, Surface ultraviolet radiation, in UNEP/WMO Scientific Assessment of Ozone Depletion: 1994, Report No. 37, edited by D. L. Albritton, R. T. Watson, and P. J. Aucamp, pp.9.1-9.22, WMO Global Ozone Res. and Monit. Proj., Geneva, 1995a.

McKenzie, R. L., P. V. Johnston, M. Kotkamp, A. Bittar, and J. D. Hamlin, Solar ultraviolet spectroradiometry in New Zealand:  instrumentation and sample results from 1990, Applied Optics, 31, 6501-6509, 1992.

McKenzie, R. L., M. Kotkamp, G. Seckmeyer, R. Erb, C. R. Roy, H. P. Gies, and S. J. Toomey, First southern hemisphere intercomparison of measured solar UV spectra, Geophys. Res. Lett., 20, 2223-2226, 1993.

McKenzie, R. L., K. Paulin, and M. Kotkamp, Erythemal UV irradiances at Lauder, New Zealand: relationship between horizontal and normal incidence, Photochemistry & Photobiology, in press 1997.

McKinlay, A.F. and B.L. Diffey, A reference action spectra for ultraviolet induced erythema in human skin, in Human Exposure to Ultraviolet Radiation: Risks and Regulations (Eds. W.R. Passchier and B.M.F. Bosnajakovich), Elsevier, Amsterdam, 83-87, 1987.

McPeters, R. D., S. M. Hollandsworth, L. E. Flynn, J. R. Herman, and C. J. Seftor, Long-term ozone trends derived from the 16-year combined Nimbus 7/Meteor 3 TOMS Version 7 record, Geophysical Reseach Letters, 23, 3699-3702, 1996.

Meerkoetter, R., B. Wissinger, and G. Seckmeyer, surface UV from ERS 2/GOME and NOAA/AVHRR data: A case study, J. Geophys. Res., 24, 1939-1942, 1997.

Michelangeli, D. V., M. Allen, Y. L. Yung, R-L. Shia, D. Crisp, and J. Eluszkiewicz, Enhancement of atmospheric radiation by an aerosol layer, J. Geophys. Res., 97, 865-874, 1992.

Mims III, F. M.,  and J. E. Frederick, Cumulus clouds and UV-B, Nature, 371, 1994.

Mims III, F. M.., J.W. Ladd, and R.A. Blaha., Increased solar ultraviolet-B associated with record low ozone over Texas, Geophys. Res. Lett., 22, 227-230, 1995.

*Molina, L.T., and M.J. Molina, Ultraviolet spectrum of CF3OH: Upper limits to the absorption cross sections, Geophysical Research Letters, 23, 563-565, 1996.

Nack, M.L.and A.E.S. Green, Influence of clouds, haze, and smog on the middle ultraviolet reaching the ground,  Applied Optics 13, 2405-2415, 1974.

Nezval, E.I., UV trends in Moscow, Atmospheric and oceanic optics, v8, N7, 1081-1089, 1995.

Nezval, E.I. Statistical characteristics of the UV irradiance in Moscow, 1968-1992, Meteorology and Hydrology, N8, 64-71, 1996.

Nemeth, P, Z. Toth, and Z. Nagy, Effect of weather conditions on UV-B radiation reaching the Earth’s surface, Photochem and Photobiology B: Biology, 32, 177-181, 1996.

Olmo, F. J. Alados-Arboledas, L., Pinatubo eruption effects on solar radiation at Almeira (36.83oN, 2.41oW), Tellus, 47B, 602-606, 1995.

Piazena, H., The effect of altitude upon the solar UV-B and UV-A irradiance in the topical Chilean Andes, Solar energy, 57, 133-140, 1996.

Ramaswamy, V., M. D. Schwarzkopf, and W. J. Randel, Fingerprint of ozone depletion in the spatial and temporal pattern of recent lower-stratospheric cooling, Nature, 382, 616-618, 1996.

Rind, D., and  N.K. Balachandran, Modeling the effects of UV variability and the QBO on the troposphere-stratosphere system. Part II: The Middle Atmosphere, J. Climate, 8, 2058-2079, 1995.

Rottman, G.J., et al., Solar Stellar Irradiance Comparison Experiment 1 1: instrument design and operation, J. Geophys. Res., 98, 10667-10678, 1993.

Ryan, K.G., G.J. Smith, D.A. Rhoades, and R.B. Coppell, Erythemal ultravioet insolation in New Zealand at solar zenith angles of 30o and 45o, Photochem. And Photobiology, 63, 628-632, 1996.

Sabziparvar, A. A., The production of model climatologies of surface UV irradiances and their trends, associated with changes in atmospheric composition, Thesis, University of Reading, UK. 1997.

*Sakellariou, N. D. Asimakopoulos, G. Eutaxias, A. Kalmanathianou, C. A. Varotsos, and S. Katsikis, Measurements of the spectral components of direct normal solar radiation over Athens, Int. J. Remote Sensing, 16, 1815-1827, 1995.

Schafer, J. S., V. K. Saxena, B. N. Wenny, W. Barnard, and J. J. De Luisi, Observed influence of clouds on ultraviolet-B radiation, Geophys. Res. Lett., 23, 2625-2628, 1996.

Schindler, D. W., P. J. Curtis, B. R. Parker, and M. P. Stainton, Consequences of climate warming and lake acidification for UV-B penetration in North American boreal lakes, Nature, 379, 705-708, 1996.

Schmid, B. and C. Wehrli, Comparison of Sun photometer calibration by use of the Langley technique and the standard lamp, Appl. Opt., 21, 4500-4512, 1995.

Schmidt., B., P. R,. Spyak, S. F. Biggar, C. Wehrli, J. Sekler, T. Ingold, C. Mätzler, and N. Kämpfer. Evaluation of the applicability of solar and lamp radiometric calibrations of a precision sun photometer operating between 300 and 1025 nm.  Submitted Applied Optics, 1998.

Schwander, H., Koepke, P., Ruggaber, A., Uncertainties in modeled UV irradiances due to limited accuracy and availability of input data, J. Geophys. Res., 102, 9419-9429, 1997.

Scotto, J, G. Cotton, F. Urbach, D. Berger, and T. Fears, Biologically effective ultraviolet radiation-surface measurements in the united states, 1974 to 1985, Science, 239, 762-764, 1988.

Seckmeyer, G.  and R.L. McKenzie, Increased ultraviolet radiation in New Zealand (45ES) relative to Germany (48EN), Nature, 359, 135-137, 1992.

Seckmeyer, G. and G. Bernhard, Cosine error correction of spectral UV irradiances, Proc. SPIE 2049, 140-151, 1993.

*Seckmeyer, G., B. Mayer, R. Erb, and G. Bernhard, UV-B in Germany higher in 1993 than in 1992, Geophys. Res. Lett., 21, 577-580, 1994a.

Seckmeyer, G., S. Thiel, M. Blumthaler, P. Fabian, and S. Gerber, Intercomparison of spectral-UV-radiation measurement systems, Appl. Opt., 33, 7805, 1994b.

Seckmeyer, G., B. Mayer, G. Bernhard, R. L. McKenzie, P. V. Johnston, M. Kotkamp, C.R. Bluth, T. Lucas, T. Mestechkina, C. R. Roy, H. P. Gies, and D. Tomlinson, Geographical differences in the UV measured by intercompared spectroradiometers, Geophys. Res. Lett., 22, 1889-1892,1995.

Seckmeyer, G., R. Erb, and A. Albold, Transmittance of a cloud is wavelength-dependent in the UV-range, Geophys. Res. Lett., 23, 2753-2755, 1996a.

Seckmeyer, G., B. Mayer, G. Bernhard, R. Erb, A. Albold, H. Jäger, and W. R. Stockwell, New maximum UV irradiance levels observed in Central Europe, Atmos. Environ., 31, in press 1997.

Slaper, H. Velders, G. J. M. Daniel, J. S. de Gruijl, and F. R. van der Leun, J. C., Estimates of ozone depletion and skin cancer incidence to examine the Vienna Convention achievements, Nature, 384, 256-258, 1996.

Slaper, H. H.A.J.M. Reinen,. M. Blumthaler, M. Huber, F. Kuik, F., Comparing ground-level spectrally resolved solar UV measurements using various instruments: A technique resolving effects of wavelength shift and slit width, Geophys. Res. Lett., 22, 2721-2724, 1995.

Staehelin, J. and W. Schmid, Trend analysis of tropspheric ozone concentrations utilizing the 20-year data set of ozone balloon soundings over Payerne (Switzerland), Atmos. Environ., 25A, 9, 1739-1749, 1991.

Stamnes, K., S.C. Tsay, W. Wiscombe, and K. Jayaweera, Numerically stable algorithm for discrete-ordinate-method radiative transfer in multiple scattering and emitting layered media, Appl. Opt., 27, 2502-2509, 1988.

Stolarski, R.S., P. Bloomfield, R.D. McPeters, and J.R. Herman, Total Ozone Trends Deduced From Nimbus 7 TOMS Data, Geophys. Res. Letters, 6, 1015-1018, 1991.

Stolarski, R., R. Bojkov, L. Bishop, C. Zerefos, J. Staehelin, J. Zawodny, Measured Trends in Stratospheric Ozone, Science, 256, 342-349, 1992.

Sutherland, B.M., Action spectroscopy in complex organisms: potentials and pitfalls in predicting the impact of increased environmental UVB, Photochem and Photobiology B: Biology, 31, 29-34, 1995.

Taala-s, P. Damski, J. Kyro, E. Ginzberg, M. Talamoni, G., Effect of stratospheric ozone variations on UV radiation and on tropospheric ozone at high latitudes, J. Geophys. Res., 102, 1533-1539, 1997.

Thompson, A., E. A. Early, J. DeLuisi, P. Disterhoff, D. Wardle, J. Kerr, J. Rives, Y. Sun, T. Lucas, et al., The 1994 North American interagency intercomparison of ultraviolet monitoring spectroradiometers, Journal of the National Institute of Standards and Technology, 102, 279-322, 1997.

Torres, O., P.K.Bhartia, J.R.Herman, Z.Ahmad, Derivation of aerosol properties from satellite measurements of backscattered ultraviolet radiation. Theoretical basis, submitted, J. Geophys. Res., submitted,1998.

Tsitas, S. R. and Y.L. Yung, The effect of volcanic aerosols on ultraviolet radiation in Antarctica, Geophys. Res. Lett., 23, 157-160, 1996.

UNEP, Environmental Effects of Stratospheric Ozone Depletion - 1991 Update, J. C. van der Leun, M. Tevini and R. C. Worrest, (eds.), United Nations Environmental Programme, Nairobi, Kenya, November 1991.

UNEP, Environmental Effects of Ozone Depletion - 1994 Update, J. C. van der Leun, X. Tang, and M. Tevini (eds.), United Nations Environmental Programme, Nairobi, Kenya, November 1994.

VanHoosier, M.E., J. Bartoe, G. Brueckner, and D. Prinz,   Absolute solar spectral irradiance 120 nm - 410 nm (results from the solar ultraviolet spectral irradiance monitor - SUSIM - experiment onboard Spacelab 2), Astrophys. Lett.. Commun., 27, 163-167, 1988.

Varotsos, C. A., G. J. Chronopoulos, S. Katsikis, and N. K. Sakellariou, Further evidence of the role of air pollution on solar ultraviolet radiation reaching the ground, Int. J. Remote Sensing, 16, 1883-1886, 1995.

Varotsos, C., and K. Y. Kondratyev, On the relationship between total ozone and solar ultraviolet radiation at St. Petersburg, Russia, Geophysical Research Letters, 22, 3481-3484, 1995.

Varotsos, C., and K. Y. Kondratyev, On the relationship between total ozone and solar ultraviolet radiation at St. Petersburg, Russia, Geophys. Res. Lett., 22, 3481-3484, 1995.

Vaughan, G., H. K. Roscoe, L. M. Bartlett, F. M. O'Connor, A. Sarkissian, M. V. Roozendael, J. C. Lambert, P. C. Simon, and K. Karlsen, An intercomparison of ground-based UV-visible sensors of ozone and NO2, J. Geophys. Res., 102, 1411-1422,1997.

*Vasilkov, A.P. and N.A. Krotkov, Modeling te Effect of Sea-Water optical properties on the ultraviolet radiant fluxes in the Ocean, Izvestiya, Atmospheric and Oceanic Physics,  v.33, 349-357, 1997.

Walker, J.H., R.D. Saunders, J.K. Jackson, and K.D. Mielenz, Results of a CCPR intercomparison of spectral irradiance measurements by National Laboratories, J. Res. National Institute of Standards and Technology (NIST), 96, 647-668, 1991.

Wang,P. and J.P. Lenoble, Comparison between measurements and modeling of UV-B irradiance for clear sky: A case study, Applied Optics, 33, 3964-3971, 1994.

Weatherhead, EC, G.C. Tiao, G.C. Feinsel, J.E. Frederick, J.J. deLuisi, D.S. Choi, and W.K. Tam, Analysis of long-term behavior of ultraviolet radiation measured by Robertson-Berger meters at 14 sites in the United States, J. Geophys. Res. 102, 8737-8754, 1997.

*Webb, A. R., B. G. Gardiner, M. Blumthaler, P. Forster, M. Huber and P. J. Kirsch, A laboratory investigation of two ultraviolet spectroradiometers. Photochem. and Photobiol., 60, 84-90, 1994.

Weihs, P. and A.R.Webb, Accuracy of spectral UV model calculations 1. Consideration of uncertainties in input parameters, J. Geophys. Res., 102, 1541-1550, 1997a.

Weihs, P. and A.R.Webb, Accuracy of spectral UV model calculations 2. Comparison of UV calculations with measurements, J. Geophys. Res., 102, 1551-1560, 1997b.

Wendler, G. and T. Quackenbush, UV radiastion in the souhtern seas in early spring 1993, Theor. Appl. Climatol., 53, 221-230, 1996.

Wilson, S. R., and B. W. Forgan, In situ calibration technique for UV spectral radiometers, Appl. Opt., 34, 5475, 1995.

Woods, T.N. et al., Validation of the UARS solar ultraviolet irradiances: Comaparison with the ATLAS 1 and 2 measurements, J.Geophys. Res., 101, 9541-9569, 1996.

WMO 1991,  UNEP/WMO Scientific Assessment of Ozone Depletion: 1991, Report No. 25,  WMO Global Ozone Res. and Monit. Proj., Geneva, 1992.

WMO 1994, UNEP/WMO Scientific Assessment of Ozone Depletion: 1994, Report No. 37, edited by D. L. Albritton, R. T. Watson, and P. J. Aucamp, WMO Global Ozone Res. and Monit. Proj., Geneva, 1994.

Zeng, J., R. McKenzie, K. Stamnes, M. Wineland, and J. Rosen, Measured UV spectra compared with discrete ordinate method simulations, J. Geophys. Res., 99, 23019-23030, 1994.

Zerefos, C. S., K. Tourpali, and A. G. Bais, Further studies on possible volcanic signal to the ozone layer, J. Geophys. Res., 99, 25,741-25,746, 1994b.

Zerefos, C. S., A. F. Bais, C. Meleti, and I. C. Ziomas, A note on the recent increase of solarUV-B radiation over northern middle latitudes, Geophys. Res. Lett., 22, 1245-1248, 1995a.

Zerefos, C. S., C. Meleti, A. F. Bais, A. Lambros, The recent UVB variability over southeastern Europe, Photochem. Photobiol. B: Biology, 31, 15-19, 1995b.

Zerefos, C.S. D.S. Balis, A.F. Bais, D. Gillotay, P.C. Simon, B. Mayer, G. Seckmeyer, Variability of UV-B at four stations in Europe, Geophys. Res. Letts., 24, 1363, 1366, 1997.

Ziemke, J.R., J.R. Herman, J.L. Stanford, and P.K.Bhartia, Total ozone/UV-B monitoring and forecasting: Imapct of clouds and the horizontal resolution of satellite retrievals, J. Geophys. Res., submitted, 1997.

9.10 FIGURE CAPTIONS

at different spectral resolutions simulating measurements taken with spectroradiometers  (0.5 nm for Brewer instrument) to filter instruments ( .5nm).

UV flux at the ground (3% reflectivity) for different SZA and wavelengths for an atmospheric ozone amount of 375 DU. (from the data used in Herman et al., 1996b).

The range of the SRF correction factors for the SL 501 V.3 meters at 325 DU based on the STUK measurement data for 16 instruments. The SRF:s for the YES UVB-1 meter and the typical example of the SL meters have been included for comparison.  The correction factors have been normalized to unity at solar elevation angle of 50°. 	(From Leszczynski  et al., 1997; 1998).

of ozone amount (275, 375, and 475 DU) and wavelength calculated from increases in UV radiation due to a 1% reduction in ozone from a radiative transfer calculation (3 curves) and Equation 1 (3 curves).  The lower panel shows the absolute difference between the closely matched pairs of curves.

to ozone change (RAF) at SZA 45E for 132 clear days during July 1995 to July 1996 at Mauna Loa Observatory.

in UV flux resulting from a 1% decrease in total ozone ( 3 DU at 300 DU) as a function of wavelength at different solar zenith angles.  Features in the spectra follow the ozone absorption spectrum which is shown by the continuous solid line. [Fioletov et al., 1997].

(Brewer - symbols) RAF and the calculated RAF (solid lines), for ozone amounts = 300±3 DU, showing the onset of the Umkehr effect at high solar zenith angles.  (Data from Fioletov et al., 1997). Note the pronounced Umkehr effect for the curve labeled 72.5o.

due to clouds, aerosols, and ozone observed at Toronto from ground-based measurements for 1996.  Points are daily averages from ± 1 hour of noon. (From Kerr, WOUDC database)

estimated using daily noon values of 305 nm and 324.5 nm fluxes from Toronto Brewer data.

(November 1994 - Shuttle Atlas 3) and SOLSTICE (March 1992 - UARS) solar spectra (290 nm to 400 nm) plus the calculated UV flux at the ground for overhead sun with clear sky and 300 DU of ozone.

s (a,b,c,d) of global maps of the monthly erythemal exposure for January, March, July, and September including the effect of clouds.

showing the effect of Saharan desert dust and biomass burning in South America, southern Africa, and California.   (Krotkov et al., 1998)

in action spectra weighted annual UV exposure as a function of latitude estimated from TOMS data including cloud effects.  The error bars indicate 2F uncertainty from combined instrument error and variability in the UV flux data.	  (Herman et al., 1996b)

as a function of latitude and month estimated from TOMS satellite data.  (Herman et al., 1996b)

at SZA 45E compared with total ozone for 132 clear days during July 1995 to July 1996 at Mauna Loa Observatory.

of grey-cloud transmittance in a Rayleigh scattering atmosphere.  CF(8) from measurements made by the Biospherical Instruments, Inc. spectroradiometer at Barrow, Alaska, July-August, 1991 (squares).  The curves are from DISORT radiative transfer calculations.	(From Celarier et al, 1997)

of UV fluxes as a function of wavelengths for ground reflectance RS = 0.05 and fresh-snow/ice conditions, RS = 0.80 for clear and cloudy (Icloud = 20) skies with ozone amount S = 325 DU.

daily integrals of erythemal UV during the summer months as a function of latitude.  (From Seckmeyer et al., 1995).

of the daily integrals of erythemal UV over the summer months as a function of latitude.    (From Seckmeyer et al., 1995)

derived results (smooth curves) for clear and cloudy skies and corresponding ground-based measurements (squares) for 8 August 1996 at Toronto Canada (Brewer data from WOUDC database).  The vertical straight line marks the time of the TOMS overpass of Toronto.